## CRM reference data
CAMIRO pXRF Project. Phase 1. CRM data values
|  |  | ALS | SGS | SV |  | ALS | SGS | SV |  | SGS | SV |  |  |  | ALS | ALS ICP06 | SGS | SV |  | SGS |  | ALS | SGS | SV |  |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  |  | ALS | SGS | SV |  | ALS | ALS- ICP06 | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS |  | ALS | SGS |  | ALS | SGS | SV |  | ALS | SGS |  | ALS | SGS |  | SGS |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS |  | SGS |  | ALS | SGS | SV |  | ALS | SGS | SV |  | SGS |  | ALS | SGS |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  |  | ALS | SGS |  | ALS | SGS | SV |  | ALS | SV |  | ALS | SGS | SV |  | SGS | SV |  | ALS | SV |  | ALS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | ALS ME-ICP06 | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS |  | ALS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS |  | ALS | SGS |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS | SV |  | ALS | SGS |  | ALS | SGS | SV |  | ALS | SGS | SV
Sample ID | Material | Ag µg/g | Ag | Ag | Ag | Al % | Al | Al | Al | As µg/g | As | As | Au µg/g | B µg/g | Ba µg/g | Ba | Ba | Ba | Ba | Be µg/g | Be | Bi µg/g | Bi | Bi | Bi | Br µg/g | Ca % | Ca | Ca | Ca | Cd µg/g | Cd | Cd | Cd | Ce µg/g | Ce | Ce | Ce | Cl µg/g | Co µg/g | Co | Co | Co | Cr µg/g | Cr | Cr | Cr | Cr | Cs µg/g | Cs | Cs | Cs | Cu µg/g | Cu | Cu | Cu | Dy µg/g | Dy | Dy | Dy | Er µg/g | Er | Er | Eu µg/g | Eu | Eu | Fe % | Fe | Fe | Fe | Ga µg/g | Ga | Ga | Gd µg/g | Gd | Gd | Ge µg/g | Ge | Hf µg/g | Hf | Hf | Hf | Hg µg/g | Hg | Hg | Hg | Ho µg/g | Ho | Ho | In µg/g | In | K % | K | K | K | La µg/g | La | La | La | Li µg/g | Li | Lu µg/g | Lu | Lu | Mg µg/g | Mg | Mg | Mg | Mn µg/g | Mn | Mn | Mn | Mo µg/g | Mo | Mo | Mo | Na µg/g | Na | Nb µg/g | Nb | Nb | Nb | Nd µg/g | Nd | Nd | Nd | Ni µg/g | Ni | Ni | Ni | P % | P | P | P | Pb µg/g | Pb | Pb | Pb | Pd µg/g | Pr µg/g | Pr | Pr | Rb µg/g | Rb | Rb | Rb | S % | S | S | Sb µg/g | Sb | Sb | Sb | Sc µg/g | Sc | Sc | Se µg/g | Se | Se | Si % | Si | Si | Sm µg/g | Sm | Sm | Sm | Sn µg/g | Sn | Sn | Sn | Sr µg/g | Sr | Sr | Sr | Sr | Ta µg/g | Ta | Ta | Ta | Tb µg/g | Tb | Tb | Te µg/g | Te | Te | Th µg/g | Th | Th | Th | Ti % | Ti | Ti | Ti | Tl µg/g | Tl | Tl | Tm µg/g | Tm | Tm | U µg/g | U | U | U | V µg/g | V | V | V | W µg/g | W | W | W | Y µg/g | Y | Y | Y | Yb µg/g | Yb | Yb | Zn µg/g | Zn | Zn | Zn | Zr µg/g | Zr | Zr | Zr
BHVO-1 | basalt | 0.055 | <0.5 | <1 | 0.055 | 7.2507 | 7.092 | 7.28 | 7.25 | 0.5 | <5 | 0.5 | 0.0018 | 2.5 | 133 | 136.5 | 89.566 | 124 | 133 | 1.1 | 5 | 0.016 | 0.01 | <0.1 | 0.016 | 0.22 | 8.1476 | 8.0404 | 8.3 | 8.1476 | 0.094 | <0.5 | 0.8 | 0.1 | 38.1 | 38.3 | 38.6 | 38.1 | 92 | 45 | 41 | 47.3 | 45 | 287 | 270 | 273.6808 | 280 | 287 | 0.101 | 0.12 | <0.1 | 0.101 | 137 | 148 | 154 | 137 | 5.31 | 5.59 | 5.55 | 5.31 | 2.55 | 2.59 | 2.79 | 2.09 | 2.15 | 2.18 | 8.673 | 8.5331 | 8.46 | 8.673 | 21 | 21.3 | 30 | 6.33 | 6.42 | 6.27 | 1.6 | 2 | 4.46 | 4.4 | 5 | 4.46 | 0.0056 | 0.02 | 0.006 | 0.0056 | 0.98 | 1.01 | 1.08 | 0.18 | <0.2 | 0.43998 | 0.43168 | 0.5 | 0.43998 | 15.5 | 16.2 | 15.5 | 15.5 | 4.6 | <10 | 0.27 | 0.3 | 0.22 | 4.3539 | 4.2876 | 4.26 | 4.3539 | 1316.565 | 1316.5769 | 1300 | 1316.565 | 1 | <1 | 3 | 1 | 1.7063 | 1.6766 | 18.6 | 18.2 | 19 | 18.6 | 24.7 | 25.4 | 24.5 | 24.7 | 118 | 113 | 118 | 118 | 0.11958 | 0.12656 | 0.13 | 0.11958 | 2.4 | <2 | <5 | 2.4 | 0.003 | 5.42 | 5.49 | 5.59 | 9.19 | 10 | 10.5 | 9.19 | 0.0093 | 0.01 | 0.0093 | 0.15 | 0.12 | 0.6 | 0.15 | 31 | 29 | 31 | 0.1 | 0.3 | 0.1 | 23.2785 | 23.185 | 23.2785 | 6.12 | 6.28 | 6.3 | 6.12 | 2.1 | 2 | <1 | 2.1 | 396 | 417 | 422.7975 | 391 | 396 | 1.21 | 1.2 | 1 | 1.21 | 0.96 | 0.94 | 0.95 | 0.0064 | 0.01 | 0.0064 | 1.23 | 1.23 | 1.3 | 1.23 | 1.8321 | 1.6546 | 1.66 | 1.8321 | 0.044 | <0.5 | <0.5 | 0.33 | 0.34 | 0.37 | 0.409 | 0.42 | 0.45 | 0.409 | 318 | 323 | 313 | 318 | 0.21 | 1 | <1 | 0.21 | 26 | 26.4 | 28 | 26 | 2 | 2.1 | 2.2 | 106 | 108 | 82 | 106 | 174 | 166 | 191 | 174
BL-2a | U ore |  | 1 | 2 | 1.5 | 6.6209 | 6.2452 | 6.36 | 6.62 |  | 8 | 8 |  |  |  | 329 | 358.264 | 315 | 334.088 |  | 109 |  | 1.03 | 1.2 | 1.1 |  | 4.0595 | 3.8022 | 3.9 | 4.0595 |  | <0.5 | 1.2 | 0.5 |  | 73.3 | 66.2 | 69.8 |  |  | 19 | 26.1 | 22.5 |  | 100 | 68.4202 | 90 | 95 |  | 0.42 | 0.3 | 0.36 |  | 104 | 109 | 106 |  | 5.26 | 5.13 | 5.19 |  | 3.02 | 3.13 |  | 1.27 | 1.24 | 4.75 | 4.6163 | 4.61 | 4.75 |  | 17.2 | 25 |  | 5.24 | 5.04 |  | 2 |  | 4.3 | 5 | 4.65 |  | 0.013 | 0.012 | 0.012 |  | 1.06 | 1.09 |  | 0.8 | 0.33206 | 0.39017 | 0.5 | 0.33206 |  | 35.2 | 30.7 | 32.95 |  | 20 |  | 0.43 | 0.36 | 1.5076 | 1.4654 | 1.49 | 1.5076 |  | 697.0113 | 730 | 714 |  | 11 | 18 | 15 | 3.42 | 3.7686 |  | 10.4 | 11 | 10.7 |  | 31 | 28.6 | 29.8 |  | 79 | 90 | 85 |  | 0.10038 | 0.12 | 0.11019 | 900 | 880 | 82 | 900 |  |  | 8.3 | 7.64 |  | 18.8 | 20.9 | 19.8 | 0.36 | 0.33 | 0.36 |  | 0.08 | 0.4 | 0.24 |  | 13 | 13 |  | 5 | 5 | 27.635 | 27.8126 | 27.635 |  | 5.95 | 5.8 | 5.87 |  | 13 | 5 | 8.5 |  | 298 | 253.6785 | 272 | 274.5595 |  | 1.1 | 0.9 | 1 |  | 0.85 | 0.77 |  | 0.39 | 0.39 |  | 13.8 | 12 | 12.9 |  | 0.32973 | 0.34 | 0.335 |  | <0.5 | <0.5 |  | 0.44 | 0.45 | 4260 | >1000 | >1000 | 4260 |  | 706 | 650 | 678 |  | 3 | 3 | 3 |  | 31.9 | 34 | 33 |  | 2.88 | 2.9 |  | 49 | 31 | 40 |  | 221 | 230 | 227
CZn-1 | sphalerite ore |  |  |  |  | 0.13231 |  |  | 0.13 | 260 |  | 260 | [9 empty] | 27.00? |  |  | 27 |  | 0.17868 |  |  | 0.17868 | 1320 |  |  | 1320 | [18 empty] | 1440 |  |  | 1440 | [10 empty] | 10.9321 |  |  | 10.9321 | [12 empty] | 43 |  |  | 43 |  |  |  | 86? | [14 empty] | 0.19? |  |  | 0.19 | 2191.6935 |  |  | 2191.6935 | [22 empty] | 74500 |  |  | 74500 | [8 empty] | 30.2 |  | 30.2 | 520 |  |  | 520 |  |  |  | 5.50? |  | 5.5 | 0.46744 |  | 0.46744 |  |  |  |  | 65 |  |  | 65 | [48 empty] | 447400 |  |  | 447400
DNC-1 | dolerite | 0.027? | <0.5 | <1 | 0.027 | 9.6853 | 9.7118 | 10 | 9.6853 | 0.2? | <5 | 0.2 | 0.002? | 0.9 | 114 | 98.7 | 89.566 | 97 | 95.0887 | 1 | <5 | 0.02? | 0.01 | <0.1 | 0.02 |  | 8.0547 | 8.0761 | 8.4 | 8.0547 | 0.182? | <0.5 | 0.7 | 0.182 | 10.6 | 8.3 | 7.9 | 10.6 | 37 | 54.7 | 53 | 62.2 | 54.7 | 285 | 300 | 273.6808 | 280 | 285 | 0.34? | 0.21 | <0.1 | 0.21 | 96 | 105 | 108 | 96 | 2.7 | 2.94 | 2.84 | 2.7 | 2 | 2.15 | 2.03 | 0.59 | 0.65 | 0.58 | 6.9454 | 6.9244 | 6.87 | 6.9454 | 15 | 14.8 | 18 | 2 | 2.23 | 1.9 | 1.3? | 2 | 1.01 | 1.4 | 1 | 1.01 | 0.006? | 0.014 | <5 | 0.01 | 0.62 | 0.68 | 0.62 |  | <0.2 | 0.1901 | 0.18263 | 0.2 | 0.1901 | 3.8 | 4.3 | 3.5 | 3.8 | 5.1 | <10 | 0.32 | 0.32 | 0.24 | 6.0605 | 6.0605 | 6.02 | 6.0605 | 1153.9305 | 1161.6855 | 1140 | 1153.9305 | 0.7? | <1 | 2 | 1 | 1.3873 | 1.4318 | 3 | 1.5 | 2 | 3 | 4.9 | 5 | 4.9 | 4.9 | 247 | 250 | 264 | 247 | 0.037096 | 0.026185 | 0.03 | 0.037096 | 6.3 | 7 | 7 | 6.3 | 0.016 | 1.3 | 1.13 | 1.1 | 4.5? | 3.7 | 3.6 | 4.5 | 0.0392? | 0.05 | 0.0392 | 0.96 | 0.7 | 1.1 | 0.96 | 31 | 30 | 31 | 0.2? | 0.2 | 0.2 | 21.9883 | 22.0631 | 21.9883 | 1.38 | 1.46 | 1.3 | 1.38 |  | 2 | <1 | 1 | 145 | 153 | 169.119 | 147 | 145 | 0.098 | 0.1 | <0.5 | 0.098 | 0.41 | 0.42 | 0.34 | 0.02? | 0.02 | 0.02 | 0.2? | 0.28 | 0.3 | 0.2 | 0.31978 | 0.29376 | 0.3 | 0.31978 | 0.026? | <0.5 | <0.5 | 0.33? | 0.31 | 0.29 | 0.1? | 0.07 | 0.1 | 0.1 | 148 | 162 | 161 | 148 | 0.2? | <1 | <1 | 0.2 | 18 | 18.1 | 18.2 | 18 | 2.01 | 2.04 | 1.9 | 66 | 69 | 47 | 66 | 41 | 53 | 41.3 | 41
FeR-1 | iron formation |  | 5.2 | 6 | 5.6 | 0.26463 | 0.26992 | 0.26 | 0.26463 | 7 | 7 | 7 |  |  | 1000 | 975 | 1074.792 | 1020 | 1017.448 | 1.8 | <5 | 6 | 4.12 | 3.8 | 6 |  | 2.3657 | 2.3871 | 2.4 | 2.3657 |  | 4 | 5.6 | 4.9 | 7.5 | 8.6 | 7.8 | 7.5 |  | 12 | 4 | 13.4 | 12 | 7 | <10 |  | <10 | 7 |  | 0.09 | <0.1 | 0.09 | 105 | 107 | 98 | 105 | 1.8 | 5.21 | 2.12 | 1.8 | 1 | 2.31 | 1.29 | 3.1 | 3.17 | 3.25 | 52.9611 | 53.6465 | >30 | 52.9611 |  | 1.6 | 3 | 1.5 | 2.69 | 1.73 | 3 | 3 |  | 0.9 | <1 | 0.9 |  | 0.189 | 0.198 | 0.194 | 0.4 | 0.98 | 0.44 |  | 4.2 | 0.0083015 | <0.01 | <0.1 | 0.0083015 | 9.8 | 10.3 | 8.3 | 9.8 | 4 | <10 | 0.15 | 0.18 | 0.07 | 0.16885 | 0.15076 | 0.17 | 0.16885 | 1703.79 | 1703.8054 | 1650 | 1703.79 |  | <1 | 3 | 2 | 0.0074186 | 0.0074186 | 1 | 0.5 | 5 | 1 | 7 | 7.1 | 6.6 | 7 | 12 | 5 | 10 | 12 | 1.0649 | 1.0911 | 1.21 | 1.0649 | 5200 | 4910 | 4970 | 5200 | 0.001 |  | 1.61 | 1.54 | 0.6 | 0.9 | 0.8 | 0.6 | 0.25 | 0.27 | 0.25 | 6 | 3.11 | 5.4 | 6 | 0.87 | <5 | 0.87 |  | 0.4 | 0.4 | 7.9091 | 7.7361 | 7.9091 | 1.7 | 1.61 | 1.7 | 1.7 |  | 43 | 76 | 59 | 90 | 105.5 | 169.119 | 92.1 | 90 |  | <0.1 | <0.5 | 0.05 | 0.2 | 0.81 | 0.22 |  | 0.05 | 0.05 | 0.4 | 0.4 | 0.4 | 0.4 | 0.019986 | 0.017985 | 0.01 | 0.019986 |  | <0.5 | <0.5 | 0.2 | 0.25 | 0.17 | 0.6 | 0.7 | 0.82 | 0.6 | 98 | 39 | 138 | 98 |  | 1 | 1 | 1 | 18 | 38 | 20.5 | 18 | 0.98 | 1.35 | 1 | 3600 | 3590 | 3640 | 3600 | 6 | 34 | 7.6 | 6
GSP-1 | granodiorite | 0.086 |  |  | 0.086 | 7.9917 |  |  | 7.9917 | 0.1 |  | 0.1 | 0.0014 | 1.3 | 1310 |  |  |  | 1310 | 1.4 |  | 0.039 |  |  | 0.039 | 0.52? | 1.4794 |  |  | 1.4794 | 0.058 |  |  | 0.058 | 399 |  |  | 399 | 330 | 6.6 |  |  | 6.6 | 13 |  |  |  | 13 | 1.02 |  |  | 1.02 | 33 |  |  | 33 | 5.5 |  |  | 5.5 | 2.7 |  |  | 2.33 |  |  | 3.0006 |  |  | 3.0006 | 23 |  |  | 12.1 |  |  | 1.36 |  | 15.5 |  |  | 15.5 | 0.022? |  |  | 0.022 | 1.01 |  |  | 0.052 |  | 4.5741 |  |  | 4.5741 | 184 |  |  | 184 | 31 |  | 0.214 |  |  | 0.57891 |  |  | 0.57891 | 309.78 |  |  | 309.78 | 0.8? |  |  | 0.8 | 2.0772 |  | 27.9 |  |  | 27.9 | 196 |  |  | 196 | 8.8 |  |  | 8.8 | 0.1222 |  |  | 0.1222 | 55 |  |  | 55 |  | 52 |  |  | 254 |  |  | 254 | 0.032 |  | 0.032 | 3.2 |  |  | 3.2 | 6.2 |  | 6.2 | 0.069 |  | 0.069 | 31.4212 |  | 31.4212 | 26.3 |  |  | 26.3 | 6.6 |  |  | 6.6 | 234 |  |  |  | 234 | 0.97 |  |  | 0.97 | 1.34 |  |  | 0.023 |  | 0.023 | 106 |  |  | 106 | 0.43304 |  |  | 0.43304 | 1.43 |  |  | 0.38 |  |  | 2.54 |  |  | 2.54 | 53 |  |  | 53 | 0.3 |  |  | 0.3 | 26 |  |  | 26 | 1.7 |  |  | 104 |  |  | 104 | 530 |  |  | 530
GSR-1 | granite | 0.033 | <0.5 | <1 | 0.033 | 7.092 | 6.748 | 7.02 | 7.092 | 2.1 | <5 | 2.1 | 0.00055 | 24 | 343 | 331 | 358.264 | 328 | 343 | 12.4 | 13 | 0.53 | 0.53 | 0.5 | 0.53 |  | 1.1078 | 1.0863 | 1.2 | 1.1078 | 0.032 | <0.5 | 0.6 | 0.032 | 108 | 110 | 108 | 108 | 127 | 3.4 | 3 | 3.1 | 3.4 | 5 | <10 |  | 30 | 5 | 38.4 | 37.5 | 35.3 | 38.4 | 3.2 | 4 | 6 | 3.2 | 10.2 | 9.89 | 10.3 | 10.2 | 6.5 | 6.39 | 6.89 | 0.85 | 0.87 | 0.79 | 1.4968 | 1.4478 | 1.44 | 1.4968 | 19 | 18.9 | 27 | 9.3 | 8.53 | 8.69 | 2 | 3 | 6.3 | 5.6 | 7 | 6.3 | 0.0043 | 0.017 | <5 | 0.0043 | 2.05 | 2.04 | 2.18 | 0.02 | <0.2 | 4.159 | 3.9515 | 4.5 | 4.159 | 54 | 55.1 | 51.1 | 54 | 131 | 140 | 1.15 | 1.17 | 1.11 | 0.25328 | 0.22312 | 0.23 | 0.25328 | 464.67 | 464.6742 | 460 | 464.67 | 3.5 | 3 | 7 | 3.5 | 2.322 | 2.2107 | 40 | 41.5 | 43 | 40 | 47 | 45.9 | 44.3 | 47 | 2.3 | 2 | 8 | 2.3 | 0.040587 | 0.039278 | 0.05 | 0.040587 | 31 | 29 | 36 | 31 |  | 12.7 | 12.8 | 12.4 | 466 | 423 | 535 | 466 | 0.038 | 0.03 | 0.038 | 0.21 | 0.1 | 0.7 | 0.21 | 6.1 | 5 | 6.1 | 0.01 | 1.1 | 0.01 | 34.0436 | 33.3751 | 34.0436 | 9.7 | 9.7 | 9.6 | 9.7 | 12.5 | 14 | 13 | 12.5 | 106 | 111.5 | 84.5595 | 114 | 106 | 7.2 | 7 | 7.2 | 7.2 | 1.65 | 1.54 | 1.59 | 0.021 | 0.01 | 0.021 | 54 | 54.9 | 51.5 | 54 | 0.1932 | 0.16786 | 0.18 | 0.1932 | 1.93 | 1.1 | 2.2 | 1.06 | 1.06 | 1.17 | 18.8 | 18.95 | 21.5 | 18.8 | 24 | 25 | 29 | 24 | 8.4 | 11 | 11 | 8.4 | 62 | 67 | 72.1 | 62 | 7.4 | 7.65 | 7.9 | 28 | 24 | 16 | 28 | 167 | 170 | 205 | 167
GSR-2 | andesite | 0.071 | <0.5 | <1 | 0.071 | 8.558 | 8.3622 | 8.52 | 8.558 | 2.1 | <5 | 2.1 | 0.00095 | 4.7 | 1020 | 1055 | 1074.792 | 960 | 1020 | 1.1 | <5 | 0.081 | 0.06 | <0.1 | 0.081 |  | 3.7164 | 3.7307 | 3.8 | 3.7164 | 0.061 | <0.5 | 0.8 | 0.061 | 40 | 41.7 | 39 | 40 | 42 | 13.2 | 12 | 14.6 | 13.2 | 32.4 | 30 |  | 30 | 32.4 | 2.3 | 1.81 | 1.4 | 2.3 | 55.4 | 55 | 58 | 55.4 | 1.8 | 1.81 | 1.91 | 1.8 | 0.85 | 0.87 | 0.99 | 1.02 | 1 | 0.92 | 3.4272 | 3.3643 | 3.35 | 3.4272 | 18.1 | 18.6 | 25 | 2.7 | 2.63 | 2.45 | 0.93 | 2 | 2.9 | 2.5 | 3 | 2.9 | 0.012 | 0.013 | 0.01 | 0.012 | 0.34 | 0.32 | 0.33 | 0.033 | <0.2 | 1.569 | 1.486 | 1.7 | 1.569 | 21.8 | 22.3 | 19.9 | 21.8 | 18.3 | 20 | 0.12 | 0.12 | <0.05 | 1.0372 | 0.98295 | 0.99 | 1.0372 | 619.56 | 619.5656 | 610 | 619.56 | 0.54 | <1 | 2 | 0.54 | 2.8636 | 2.8784 | 6.8 | 5.7 | 5 | 6.8 | 19 | 18.8 | 17.6 | 19 | 17 | 16 | 21 | 17 | 0.10474 | 0.10474 | 0.11 | 0.10474 | 11.3 | 8 | 19 | 11.3 |  | 4.9 | 4.83 | 4.59 | 37.6 | 41.3 | 42.3 | 37.6 | 0.019 | 0.02 | 0.019 | 0.12 | 0.06 | 0.5 | 0.12 | 9.5 | 8 | 9.5 | 0.011 | <0.2 | 0.011 | 28.3362 | 27.9996 | 28.3362 | 3.4 | 3.35 | 3.1 | 3.4 | 0.79 | 1 | <1 | 0.79 | 790 | 854 | 845.595 | 796 | 790 | 0.46 | 0.3 | <0.5 | 0.46 | 0.41 | 0.36 | 0.24 | 0.017 | <0.01 | 0.017 | 2.6 | 2.75 | 2.7 | 2.6 | 0.34643 | 0.30575 | 0.31 | 0.34643 | 0.16 | <0.5 | <0.5 | 0.15 | 0.12 | 0.14 | 0.9 | 0.91 | 1.27 | 0.9 | 95.5 | 102 | 95 | 95.5 | 0.47 | 1 | <1 | 0.47 | 9.3 | 9.1 | 10 | 9.3 | 0.89 | 0.8 | 0.8 | 71 | 69 | 53 | 71 | 99 | 107 | 104 | 99
GSR-3 | basalt | 0.04 | <0.5 | <1 | 0.04 | 7.3195 | 7.3037 | 7.33 | 7.3195 | 0.79 | <5 | 0.79 | 0.00066 | 3.5 | 526 | 557 | 537.396 | 503 | 526 | 2.5 | 6 | 0.007 | 0.01 | <0.1 | 0.007 |  | 6.2965 | 6.318 | 6.4 | 6.2965 | 0.067 | <0.5 | 0.8 | 0.067 | 105 | 109.5 | 105 | 105 | 114 | 46.5 | 42 | 53 | 46.5 | 134 | 140 | 136.8404 | 140 | 134 | 1.2 | 0.48 | 0.3 | 0.5 | 48.6 | 53 | 51 | 48.6 | 5.6 | 5.78 | 5.52 | 5.6 | 2 | 2.04 | 2.13 | 3.2 | 3.32 | 3.3 | 9.3724 | 9.3025 | 9.05 | 9.3724 | 24.8 | 24.7 | 34 | 8.5 | 8.81 | 8.34 | 0.98 | 2 | 6.5 | 6.1 | 7 | 6.5 | 0.0064 | 0.007 | <0.005 | 0.0064 | 0.88 | 0.89 | 0.94 | 0.063 | <0.2 | 1.9259 | 1.901 | 2 | 1.9259 | 56 | 56.9 | 53.7 | 56 | 9.5 | 10 | 0.19 | 0.17 | 0.1 | 4.6856 | 4.5831 | 4.47 | 4.6856 | 1310 | 1316.5769 | 1290 | 1310 | 2.6 | 2 | 6 | 2.6 | 2.5075 | 2.5446 | 68 | 75.9 | 74 | 68 | 54 | 52.4 | 50.7 | 54 | 140 | 142 | 143 | 140 | 0.413 | 0.44515 | 0.45 | 0.413 | 7.2 | 2 | 6 | 7.2 |  | 13.2 | 12.95 | 12.7 | 37 | 41.8 | 42 | 37 | 0.01 | <0.01 | 0.01 | 0.083 | 0.05 | 0.5 | 0.083 | 15.2 | 13 | 15.2 | 0.037 | 0.7 | 0.037 | 20.8665 | 20.8478 | 20.8665 | 10.2 | 10.3 | 10 | 10.2 | 2 | 2 | 1 | 2 | 1100 | 1225 | 1183.833 | 1110 | 1100 | 4.3 | 4.4 | 4 | 4.3 | 1.2 | 1.16 | 1.06 | <0.001 | 0.01 | 0.0005 | 6 | 6.07 | 5.8 | 6 | 1.42 | 1.4208 | 1.39 | 1.42 | 0.12 | <0.5 | <0.5 | 0.28 | 0.24 | 0.23 | 1.4 | 1.45 | 1.55 | 1.4 | 167 | 177 | 171 | 167 | 0.44 | 1 | 1 | 0.44 | 22 | 23.6 | 25.2 | 22 | 1.5 | 1.27 | 1.3 | 150 | 157 | 130 | 150 | 277 | 283 | 315 | 277
GSR-6 | limestone | 0.043 | <0.5 | 1 | 0.043 | 2.6621 | 2.6092 | 2.71 | 2.6621 | 4.7 | <5 | 4.7 | 0.00094 | 16 | 120 | 124 | 89.566 | 129 | 120 | 0.8 | <5 | 0.16 | 0.13 | 0.4 | 0.16 |  | 25.4934 | 25.8007 | 26.4 | 25.4934 | 0.069 | <0.5 | 0.9 | 0.069 | 25.4 | 26.3 | 25.4 | 25.4 | 80 | 9 | 7 | 10 | 9 | 32 | 30 |  | 30 | 32 | 3.2 | 2.71 | 2.3 | 3.2 | 23.4 | 24 | 28 | 23.4 | 1.6 | 1.65 | 1.82 | 1.6 | 1.1 | 0.99 | 1.03 | 0.51 | 0.5 | 0.49 | 1.7626 | 1.6856 | 1.73 | 1.7626 | 7.1 | 7.7 | 10 | 1.9 | 1.8 | 1.84 | 0.67 | 1 | 1.8 | 1.8 | 2 | 1.8 | 0.016 | 0.023 | 0.014 | 0.016 | 0.33 | 0.34 | 0.37 | 0.042 | <0.2 | 0.64751 | 0.66412 | 0.8 | 0.64751 | 14.6 | 13.5 | 12.5 | 14.6 | 20.4 | 30 | 0.14 | 0.13 | 0.09 | 3.1298 | 3.0755 | 3.13 | 3.1298 | 464.67 | 464.6742 | 450 | 464.67 | 0.38 | <1 | 3 | 0.38 | 0.06009 | 0.029674 | 6.6 | 6.3 | 7 | 6.6 | 12 | 11.9 | 11.5 | 12 | 17.8 | 17 | 19 | 17.8 |  | 0.021821 | 0.03 | 0.025911 | 18.3 | 13 | 16 | 18.3 |  | 3.4 | 3.12 | 3.17 | 32 | 33.2 | 36.2 | 32 | 0.037 | 0.04 | 0.037 | 0.43 | 0.26 | 1 | 0.43 | 6 | <5 | 6 | 0.099 | 0.2 | 0.099 | 7.292 | 7.2453 | 7.292 | 2.4 | 2.29 | 2 | 2.4 | 0.98 | 1 | <1 | 0.98 | 913 | 1040 | 1014.714 | 948 | 913 | 0.46 | 0.4 | <0.5 | 0.46 | 0.35 | 0.29 | 0.23 | 0.013 | 0.03 | 0.013 | 4.1 | 4.06 | 3.9 | 4.1 | 0.21985 | 0.19184 | 0.22 | 0.21985 | 0.36 | <0.5 | 0.6 | 0.17 | 0.13 | 0.15 | 1.9 | 1.89 | 2.01 | 1.9 | 36 | 40 | 44 | 36 | 0.67 | 1 | 1 | 0.67 | 9.1 | 9.4 | 9.9 | 9.1 | 0.9 | 0.86 | 0.9 | 52 | 49 | 37 | 52 | 62 | 71 | 74.5 | 62
GW-28209 | REE | 0.04 | <0.5 | <1 | 0.04 | 0.41811 | 0.31755 | 0.22 | 0.41811 |  | 88 | 88 |  |  | 38 | 134.5 | 89.566 | 28.9 | 40 |  | <5 |  | 0.01 | <0.1 | 0.01 |  | 0.20012 | 0.078617 | 0.2 | 0.20012 |  | <0.5 | 0.6 | 0.25 | <20 | 129 | 28.9 | 28.9 |  | 0.14 | <1 | <0.5 | 0.14 | 34 | 130 | 68.4202 | 30 | 34 |  | 0.2 | <0.1 | 0.1 | 0.7 | 2 | <5 | 0.7 | 2450 | >1000 | >1000 | 2450 | 900 | >1000 | 792 | 20 | 199.5 | 20.1 | 0.18185 | 0.18885 | 0.16 | 0.18185 |  | 3.7 | 1 | 680 | >1000 | 604 |  | 1 | 1.8? | 52.1 | 15 | 33.5 |  | <0.005 | <0.005 | 0.0025 | 380 | >1000 | 391 |  | <0.2 |  | <0.01 | <0.1 | 0.01 | <20 | 58.7 | 12 | 12 |  | <10 | 40 | 144.5 | 36.9 |  | <0.01 | <0.01 | 0.005 | <10 | <50 | <10 | 5 | 0.32 | <1 | 3 | 0.32 |  | 0.0074186 | 30 | 3.9 | 1 | 2.5 | 30 | 75.6 | 17.4 | 30 | 0.5 | 4 | 14 | 9 | 0.776 | 0.659 | 0.74 | 0.776 | 4.5 | 3 | 9 | 4.5 |  |  | 17.15 | 3.96 | 0.5 | 4.1 | <0.2 | 0.5 |  | 0.05 | 0.05 |  | 0.06 | 0.5 | 0.2 | 24 | 16 | 24 |  | 3.1 | 3.1 | 44.173 | 45.4818 | 44.173 | 70 | 72.5 | 17.2 | 70 |  | 4 | 3 | 3.5 | 2280 | 8000 | 1944.8685 | 1770 | 2280 |  | 9.9 | 2.4 | 6 | 310 | >1000 | 342 |  | 0.01 | 0.01 | 1.76 | 8.52 | 1.8 | 4.0267 | 0.019986 | 0.017985 | 0.07 | 0.019986 |  | <0.5 | <0.5 | 60 | 290 | 75.4 | 1.3 | 30.6 | 7.81 | 19.205 | 13.8 | 77 | 10 | 33.6 | 0.4 | 31 | 6 | 12.4667 | 13500 | >10000 | >1000 | 13500 | 270 | >1000 | 314 | 2 | <2 | <5 | 2 | 63 | 222 | 62.7 | 63
GW-799305 | REE |  | <0.5 | <1 | 0.25 | 3.6995 | 3.4084 | 3.45 | 3.6995 |  | 32 | 32 |  |  | 5380 | 5800 | 5553.092 | 5180 | 5478.273 |  | 8 |  | 0.63 | 0.8 | 0.71 |  | 16.4381 | 16.0808 | 16.2 | 16.4381 |  | <0.5 | 0.6 | 0.25 | 9250 | 9670 | 8850 | 9250 |  |  | 5 | 11.1 | 8 | <2 | 30 | 68.4202 | 30 | 30 |  | 0.51 | 0.4 | 0.45 |  | 62 | 126 | 94 | 110 | 131 | 133 | 124.6667 | 60 | 35.1 | 41 | 160 | 153 | 165 | 3.4482 | 3.3223 | 3.18 | 3.4482 | 40 | 46.2 | 57 | 380 | 338 | 353 |  | 11 |  | 3.2 | 6 | 4.6 |  | 0.021 | <0.005 | 0.005 |  | 18.2 | 19.2 |  | <0.2 | 2.6731 | 2.6067 | 3 | 2.6731 | 3880 | 3930 | 3550 | 3880 |  | 40 |  | 2.64 | 2.56 | 1.8875 | 1.8031 | 1.77 | 1.8875 | 697.005 | 697.0113 | 690 | 697.005 |  | 2 | 4 | 3 | 0.22998 | 0.28191 |  | 9 | 10 | 9.5 | 5310 | 5380 | 5070 | 5310 |  | 6 | 15 | 10.5 | 7.59 | 6.9609 | 7.12 | 7.59 |  | 69 | 102 | 85.5 |  | 1290 | >1000 | >1000 |  | 102 | 109 | 105 |  | 0.07 | 0.07 |  | 0.09 | 0.6 | 0.3 | 13 | 9 | 13 |  | 12.1 | 12.1 | 16.2201 | 15.8462 | 16.2201 | 790 | 762 | 722 | 790 |  | 2 | 2 | 2 | 5180 | 5670 | 5496.3675 | 5060 | 5180 |  | 0.8 | 0.6 | 0.7 | 40 | 32.2 | 34 |  | 0.02 | 0.02 | 560 | 711 | 640 | 637 | 0.16655 | 0.16187 | 0.16 | 0.16655 |  | <0.5 | 0.6 |  | 3.99 | 4.04 |  | 55.5 | 52.8 | 54.15 |  | 71 | 75 | 73 |  | 3 | 5 | 4 | 454 | 534 | 555 | 514.3333 |  | 20.2 | 19.7 |  | 45 | 57 | 51 | 140 | 103 | 235 | 159.3333
GXR-5 | soil | 1.4 | 0.7 | 1 | 1.4 | 20.2174 | 19.3706 | 19.5 | 20.2174 | 11.2 | 11 | 11.2 | 0.016? | 22 | 2000 | 1970 | 1970.452 | 1790 | 1932.613 | 1.4 | <5 | 0.38 | 0.27 | 0.6 | 0.38 | 7.8 | 0.8362 | 0.80761 | 0.8 | 0.8362 | 0.7? | <0.5 | 0.9 | 0.7 | 39 | 42.6 | 40.4 | 40.6667 |  | 29.9 | 30 | 33.7 | 29.9 | 101 | 100 | 68.4202 | 100 | 101 | 2.16 | 2.31 | 2.1 | 2.16 | 354 | 361 | 419 | 354 | 2.8 | 3.18 | 2.97 | 2.8 |  | 1.75 | 1.75 | 0.95 | 0.99 | 0.86 | 3.3853 | 3.4972 | 3.39 | 3.3853 | 40 | 42.1 | 59 | 2.7? | 3.3 | 3.24 |  | 2 | 4.6? | 4.6 | 5 | 4.6 | 0.158 | 0.151 | 0.163 | 0.158 |  | 0.62 | 0.62 | 0.29? | <0.2 | 0.87996 | 0.88826 | 1 | 0.87996 | 18.9 | 20.2 | 18.4 | 18.9 | 40 | 50 |  | 0.26 | 0.2 | 0.22 | 1.2121 | 1.21 | 0.22 | 309.78 | 309.7828 | 320 | 309.78 | 31 | 34 | 42 | 31 | 0.77895 | 0.80862 | 6.7 | 6.8 | 7 | 6.7 | 19? | 19.6 | 18.2 | 18.9 | 75 | 72 | 75 | 75 | 0.030549 | 0.030549 | 0.04 | 0.030549 | 21 | 12 | 15 | 21 | 0.0004? |  | 5.05 | 4.78 | 41 | 41.7 | 43.5 | 41 | 0.027 | 0.04 | 0.027 | 1.63 | 0.72 | 1.8 | 1.63 | 7.4 | 7 | 7.2 | 1.12 | 0.4 | 1.12 | 19.3473 | 19.8662 | 19.3473 | 3.2 | 3.75 | 3.5 | 3.4833 | 2 | 5 | <1 | 2 | 110 | 118.5 | 84.5595 | 111 | 110 | 0.48 | 0.5 | <0.5 | 0.48 | 0.46 | 0.53 | 0.43 | 0.1? | 0.08 | 0.1 | 5.6 | 6.13 | 5.6 | 5.6 | 0.2465 | 0.2398 | 0.25 | 0.2465 | 0.33 | <0.5 | <0.5 | 0.27? | 0.28 | 0.26 | 2.07 | 2.13 | 2.06 | 2.07 | 56 | 57 | 58 | 56 | 1.11 | 2 | 3 | 1.11 | 16 | 16.8 | 17.2 | 16.6667 | 1.75 | 1.75 | 1.7 | 49 | 52 | 40 | 49 | 140 | 179 | 190 | 169.6667
GXR-6 | soil | 1.3 | <0.5 | <1 | 1.3 | 17.677 | 17.4124 | 17.7 | 17.677 | 330 | 321 | 330 | 0.095 | 9.8 | 1300 | 1475 | 1433.056 | 1330 | 1412.6853 | 1.4 | <5 | 0.29? | 0.16 | <0.1 | 0.29 | 1.4? | 0.17868 | 0.17868 | 0.2 | 0.17868 | 1? | <0.5 | 0.7 | 0.7 | 36 | 37.5 | 33.8 | 35.7667 |  | 13.8 | 13 | 15.2 | 13.8 | 96 | 90 | 68.4202 | 90 | 96 | 4.2 | 4.36 | 3.6 | 4.2 | 66 | 65 | 69 | 66 | 2.8? | 2.82 | 2.67 | 2.8 | 0.76 | 1.79 | 1.76 |  | 0.69 | 0.64 | 5.5815 | 5.5885 | 5.42 | 5.5815 | 35 | 38.6 | 53 | 2.97 | 2.46 | 2.31 |  | 2 | 4.3 | 3.9 | 4 | 4.3 | 0.068 | 0.078 | 0.072 | 0.068 |  | 0.6 | 0.57 | 0.26? | <0.2 | 1.8678 | 1.8014 | 2 | 1.8678 | 13.9 | 14.4 | 12.5 | 13.9 | 32 | 40 |  | 0.35 | 0.25 | 0.33? | 0.62716 | 0.61 | 0.5 | 1006.785 | 1084.2398 | 1040 | 1006.785 | 2.4 | 1 | 5 | 2.4 | 0.10386 | 0.11128 | 7.5 | 6.8 | 7 | 7.5 | 13? | 13.9 | 12.6 | 13.1 | 27 | 19 | 24 | 27 | 0.034914 | 0.039278 | 0.05 | 0.034914 | 101 | 90 | 100 | 101 | 0.0022 |  | 3.46 | 3.18 | 90 | 91 | 91.6 | 90 | 0.016 | 0.01 | 0.016 | 3.6 | 1.59 | 4 | 3.6 | 27.6 | 25 | 26.3 | 0.94 | 0.3 | 0.94 | 21.8201 | 21.2685 | 21.8201 | 2.67 | 2.86 | 2.7 | 2.7433 | 1.7? | 3 | <1 | 1.7 | 35 | 44.7 | 84.5595 | 49 | 45 | 0.485 | 0.4 | <0.5 | 0.485 | 0.415? | 0.44 | 0.35 | 0.018 | 0.08 | 0.018 | 5.3 | 5.5 | 4.9 | 5.3 | 0.55296 | 0.51558 | 0.51 | 0.55296 | 2.2 | 0.7 | 2.1 | 0.032? | 0.28 | 0.29 | 1.54 | 1.44 | 1.54 | 1.54 | 186 | 201 | 192 | 186 | 1.9 | 3 | 3 | 1.9 | 14 | 15.8 | 16.4 | 15.4 | 2.4 | 2.04 | 1.9 | 118 | 125 | 98 | 118 | 110 | 147 | 141 | 132.6667
JG-1 | granodiorite | 0.03 | <0.5 | <1 | 0.03 | 7.5154 | 7.3037 | 7.45 | 7.5154 | 0.36 | <5 | 0.36 |  | 6 | 462 | 489 | 447.83 | 463 | 462 | 3.1 | <5 | 0.52 | 0.48 | 0.9 | 0.52 | 0.07 | 1.558 | 1.5652 | 1.5 | 1.558 | 0.04 | <0.5 | 0.7 | 0.04 | 45.9 | 44.8 | 54.4 | 45.9 | 60 | 4 | 3 | 4.2 | 4 | 64.6 | 70 | 68.4202 | 50 | 64.6 | 10.2 | 10.65 | 10 | 10.2 | 1.5 | 2 | <5 | 1.5 | 3.93 | 4.51 | 6.06 | 3.93 | 1.83 | 2.77 | 3.59 | 0.74 | 0.73 | 0.69 | 1.4968 | 1.4268 | 1.43 | 1.4968 | 17 | 16.6 | 25 | 4.2 | 4.1 | 5.5 | 1.7 | 3 | 3.79 | 3.4 | 4 | 3.79 | 0.02 | 0.013 | 0.007 | 0.02 | 0.83 | 0.91 | 1.2 | 0.04 | 0.2 | 3.2957 | 3.1961 | 3.5 | 3.2957 | 22.4 | 21.7 | 25.1 | 22.4 | 85.9 | 80 | 0.39 | 0.44 | 0.47 | 0.446 | 0.42816 | 0.44 | 0.446 | 487.9035 | 464.6742 | 510 | 487.9035 | 1.46 | 5 | 5 | 1.46 | 2.5149 | 2.4407 | 12.6 | 11.2 | 12 | 12.6 | 19.5 | 19.1 | 24.4 | 21 | 6 | 5 | 10 | 6 | 0.042333 | 0.034914 | 0.04 | 0.042333 | 26.2 | 21 | 30 | 26.2 |  | 5.21 | 5.04 | 6.42 | 181 | 189 | 201 | 181 | 0.0011 | <0.01 | 0.0011 | 0.08 | <0.05 | 0.5 | 0.08 | 6.54 | 6 | 6.54 | <0.006 | 0.2 | 0.003 | 33.7958 | 33.6556 | 33.7958 | 4.67 | 4.31 | 5.3 | 4.67 | 4.1 | 7 | 4 | 4.1 | 184 | 195.5 | 169.119 | 185 | 184 | 1.7 | 1.5 | 1.4 | 1.7 | 0.83 | 0.74 | 0.84 | 0.01 | 0.01 | 0.01 | 13.5 | 12.35 | 15 | 13.5 | 0.17321 | 0.14988 | 0.16 | 0.17321 | 1 | <0.5 | 1.2 | 0.44 | 0.43 | 0.55 | 3.3 | 3.24 | 3.17 | 3.3 | 25 | 23 | 25 | 25 | 1.7 | 2 | 3 | 1.7 | 28.5 | 27.9 | 36.4 | 28.5 | 2.49 | 2.88 | 3.6 | 41.5 | 41 | 36 | 41.5 | 114 | 111 | 111 | 114
LKSD-4 | lake sediment | 0.248 | <0.5 | 1 | 0.25 | 3.1226 | 2.9744 | 2.62 | 3.1226 | 16 | 14 | 16 | 0.002 | 22 | 330 | 320 | 268.698 | 268 | 330 | 1 | <5 | 0.48 | 0.56 | 0.6 | 0.48 | 49 | 1.2865 | 1.2936 | 1.2 | 1.2865 | 2.14 | 1.9 | 2.6 | 2.2 | 48 | 47.3 | 42.6 | 48 |  | 11 | 10 | 10.5 | 11 | 33 | 30 |  | 30 | 33 | 1.7 | 1.57 | 0.9 | 1.7 | 31 | 34 | 27 | 31 | 3.7 | 3.76 | 3.68 | 3.7 | 2 | 2.12 | 2.05 | 1.1 | 1.1 | 1.01 | 2.8607 | 2.8257 | 2.52 | 2.8607 | 7.5 | 7.8 | 10 | 4.1 | 4.01 | 3.88 | <0.1 | 2 | 2.8 | 2.6 | 3 | 2.8 | 0.18 | 0.185 | 0.183 | 0.184 | 0.7 | 0.71 | 0.72 | 0.05 | <0.2 | 0.68072 | 0.63921 | 0.6 | 0.68072 | 26 | 25.9 | 22.5 | 26 | 12 | 10 | 0.5 | 0.34 | 0.24 | 0.56082 | 0.53067 | 0.47 | 0.56082 | 464.67 | 464.6742 | 440 | 464.67 | 1.8 | 1 | 3 | 2 | 0.54156 | 0.55639 | 9 | 4.5 | 4 | 9 | 25 | 25.6 | 23.8 | 24.8 | 31 | 36 | 33 | 31 | 0.14402 | 0.11347 | 0.14 | 0.14402 | 91 | 96 | 92 | 91 |  | 6.2 | 6.53 | 6.06 | 28 | 27.6 | 24.1 | 28 | 0.99 | 0.96 | 0.99 | 1.7 | 1.15 | 1.9 | 1.7 | 7 | 6 | 7 | 2.16 | 3.1 | 2.16 | 19.4455 | 19.6324 | 19.4455 | 5 | 4.73 | 4.7 | 5 | 3.6 | 5 | 4 | 4.2 | 110 | 126.5 | 169.119 | 111 | 110 | 0.4 | 0.3 | <0.5 | 0.4 | 1.2 | 0.6 | 0.51 | 0.188 | 0.16 | 0.188 | 5.1 | 4.67 | 4.5 | 5.1 | 0.23984 | 0.18585 | 0.19 | 0.23984 | 0.4 | <0.5 | 1 | 0.3 | 0.33 | 0.33 | 31 | 28.8 | 27.2 | 31 | 49 | 51 | 47 | 49 | 0.6 | 3 | <1 | 1.5 | 23 | 21.6 | 21.7 | 23 | 2 | 2.17 | 2 | 194 | 202 | 164 | 194 | 105 | 144 | 103 | 117.3333
MA-1a | Au ore | 3.51 | 5.8 | 6 | 5.1033 |  | 5.7424 | 5.84 | 5.79 |  | 8 | 8 | 21.4 |  |  | 1380 | 1343.49 | 1230 | 1317.83 |  | <5 |  | 0.82 | 1 | 0.91 |  |  | 4.2453 | 4.3 | 4.28 |  | 0.7 | 2.1 | 1.4 |  | 87.2 | 83.8 | 85.5 |  |  | 25 | 29.3 | 27.1 |  | 190 | 205.2606 | 200 | 200 |  | 4.72 | 4.4 | 4.56 |  | 253 | 243 | 248 |  | 3.93 | 4.14 | 4.03 |  | 1.88 | 2 |  | 1.96 | 1.92 |  | 5.1268 | 5.11 | 5.12 |  | 15 | 22 |  | 5.79 | 5.91 |  | 3 |  | 3.3 | 4 | 3.65 |  | 0.147 | 0.164 | 0.155 |  | 0.71 | 0.8 |  | 0.4 |  | 4.159 | 4.5 | 4.33 |  | 43 | 39.7 | 41.35 |  | 30 |  | 0.27 | 0.21 |  | 2.581 | 2.57 | 2.57 |  | 929.3484 | 970 | 950 |  | 115 | 133 | 124 |  | 1.4986 |  | 5.8 | 6 | 5.9 |  | 42.7 | 41.2 | 41.95 |  | 86 | 88 | 87 |  | 0.1702 | 0.18 | 0.1751 |  | 117 | 130 | 123.5 |  |  | 10.75 | 10.5 |  | 149.5 | 153 | 151 |  | 1.49 | 1.49 |  | 2.38 | 5.7 | 4.04 |  | 14 | 14 |  | 0.8 | 0.8 |  | 24.3536 | 24.3536 |  | 8.17 | 7.7 | 7.935 |  | 8 | 11 | 9.5 |  | 666 | 676.476 | 608 | 650.1587 |  | 0.3 | <0.5 | 0.3 |  | 0.79 | 0.69 |  | 26 | 26 |  | 8.09 | 7.7 | 7.895 |  | 0.38369 | 0.39 | 0.387 |  | <0.5 | 1.1 |  | 0.3 | 0.28 |  | 3.19 | 6.79 | 4.99 |  | 197 | 191 | 194 |  | 21 | 19 | 20 |  | 19.9 | 21.2 | 20.6 |  | 1.76 | 1.8 |  | 336 | 298 | 317 |  | 134 | 157 | 145
MP-1 | Zn-Sn-Cu-Pb | 57.9 | 57 | 59 | 57.9667 | 3.6307 | 3.2866 | 3.35 | 3.6307 | 7700 | 6980 | 7700 |  |  |  | 5.3 | <50 | 6.8 | 6 |  | <5 | 240 | 177.5 | 206 | 240 |  | 3.3591 | 3.1232 | 3.2 | 3.3591 | 700 | 512 | 487 | 700 |  | 164.5 | 164 | 164.2 |  |  | 3 | 3 | 3 |  | 10 |  | <10 | 7.5 |  | 0.59 | 0.4 | 0.5 | 20900 | 19850 | >10000 | 20900 |  | 38.7 | 40.2 | 39.4 |  | 26 | 28.2 |  | 0.71 | 0.42 | 5.68 | 5.1408 | 5.1 | 5.68 |  | 104 | 156 |  | 24.1 | 23.8 |  | 6 |  | 5.9 | 8 | 7 |  | 0.13 | 0.028 | 0.06 |  | 7.88 | 8.54 | 690 | 651 | 0.099618 | 0.10792 | 0.1 | 0.099618 |  | 65.5 | 64.3 | 64.9 |  | 30 |  | 5.09 | 4.97 | 0.042213 | 0.030152 | 0.02 | 0.042213 | 464.67 | 387.2285 | 370 | 464.67 | 140 | 119 | 138 | 140 | 0.0074186 | 0.014837 |  | 52 | 53 | 52.5 |  | 73.8 | 77.1 | 75.45 |  | 7 | 11 | 9 |  | 0.034914 | 0.02 | 0.027457 | 18800 | 17450 | >10000 | 18800 |  |  | 20.9 | 21.6 |  | 19.8 | 20.2 | 20 | 11.8 | 11.35 | 11.8 |  | 12.45 | 22.9 | 17.675 |  | <5 | 2.5 | 7.5-13 | 16.2 | 16.2 | 19.3987 | 18.3236 | 19.3987 |  | 22.7 | 23.8 | 23.25 | 24300 | >10000 | >10000 | 24300 |  | 7 | <50 | 11.2 | 9 |  | 6.3 | 6.2 | 6.25 |  | 5.37 | 5.55 |  | 2.04 | 2.04 |  | 51.4 | 48.7 | 50.05 | 0.079945 | 0.065946 | 0.06 | 0.079945 |  | <0.5 | 1 |  | 4.59 | 4.87 |  | 20.9 | 20.9 | 20.9 |  | 7 | 9 | 8 | 200 | 177 | 165 | 180.6667 |  | 270 | 288 | 279 |  | 34.5 | 35.1 | 159000 | 150500 | >10000 | 159000 |  | 150 | 163 | 156
MRG-1 | gabbro | 0.11 | <0.5 | 1 | 0.11 | 4.4828 | 4.3928 | 4.48 | 4.4828 | 0.79 | <5 | 0.79 | 0.0054? | 1.6? | 61 | 48.3 | 89.566 | 43.5 | 60.5915 | 0.61 | 6 | 0.13? | 0.06 | 0.1 | 0.13 |  | 10.5061 | 10.4704 | 10.7 | 10.5061 | 0.168 | <0.5 | 1 | 0.168 | 26 | 26.3 | 24.9 | 26 | 170 | 87 | 82 | 101 | 87 | 430 | 440 | 478.9414 | 460 | 430 | 0.57 | 0.61 | 0.3 | 0.57 | 134 | 141 | 144 | 134 | 2.9 | 3.12 | 3.18 | 2.9 | 1.12 | 1.21 | 1.31 | 1.39 | 1.41 | 1.47 | 12.5478 | 12.2051 | 12.3 | 12.5478 | 17 | 17.9 | 24 | 4 | 4.26 | 4.13 |  | 2 | 3.76 | 3.6 | 4 | 3.76 | 0.14 | 0.105 | 0.111 | 0.14 | 0.49 | 0.51 | 0.5 |  | <0.2 | 0.14943 | 0.14112 | 0.2 | 0.14943 | 9.8 | 9.4 | 8.8 | 9.8 | 4.2 | <10 | 0.12 | 0.12 | 0.06 | 8.1711 | 8.2013 | 7.93 | 8.1711 | 1316.565 | 1316.5769 | 1290 | 1316.565 | 0.87 | 1 | 3 | 0.87 | 0.54897 | 0.54156 | 20 | 20.4 | 20 | 20 | 19.2 | 18.6 | 18.4 | 19.2 | 193 | 178 | 185 | 193 | 0.034914 | 0.026185 | 0.03 | 0.034914 | 10 | 9 | 12 | 10 | 0.02 | 3.4 | 3.83 | 3.82 | 8.5 | 7.7 | 7.3 | 8.5 | 0.061 | 0.06 | 0.061 | 0.67 | 0.32 | 0.9 | 0.67 | 55 | 52 | 55 | 0.194 | 0.2 | 0.194 | 18.2862 | 18.5573 | 18.2862 | 4.5 | 4.47 | 4.5 | 4.5 | 3.6? | 4 | 3 | 3.6 | 266 | 283 | 338.238 | 267 | 266 | 0.8 | 0.8 | 0.6 | 0.8 | 0.51 | 0.58 | 0.51 | 0.032 | 0.03 | 0.032 | 0.93 | 0.73 | 0.8 | 0.93 | 2.5116 | 2.2841 | 2.29 | 2.5116 | 0.055 | <0.5 | <0.5 | 0.11 | 0.15 | 0.15 | 0.24 | 0.28 | 0.42 | 0.24 | 526 | 546 | 524 | 526 | 0.3 | 1 | <1 | 0.3 | 14 | 12.9 | 13.2 | 14 | 0.6? | 0.87 | 0.8 | 191 | 225 | 180 | 191 | 108 | 103 | 111 | 108
NIST-2709 | soil | 0.41 | <0.5 | <1 | 0.41 | 7.5 | 6.9067 | 7.3 | 7.5 | 17.7 | 17 | 17.7 | 0.3 |  | 968 | 908 | 895.66 | 866 | 968 |  | 7 |  | 0.26 | 0.2 | 0.23 |  | 1.89 | 1.8153 | 1.9 | 1.89 | 0.38 | <0.5 | 1 | 0.38 | 42 | 42.8 | 42.4 | 42 |  | 13.4 | 12 | 14.5 | 13.4 | 130 | 120 | 136.8404 | 120 | 130 | 5.3 | 5.47 | 5.5 | 5.3 | 34.6 | 32 | 35 | 34.6 | 3.5 | 2.99 | 3.04 | 3.5 |  | 1.8 | 1.9 | 0.9 | 0.82 | 0.82 | 3.5 | 3.3083 | 3.39 | 3.5 | 14 | 15.4 | 22 |  | 3.24 | 3.23 |  | 2 | 3.7 | 3.8 | 4 | 3.7 | 1.4 | 1.585 | 1.44 | 1.4 | 0.54 | 0.6 | 0.63 |  | <0.2 | 2.03 | 1.8429 | 2.1 | 2.03 | 23 | 22.1 | 20.9 | 23 |  | 60 |  | 0.29 | 0.23 | 1.51 | 1.393 | 1.46 | 1.51 | 538 | 542.1199 | 550 | 538 | 2 | 1 | 5 | 2 | 1.16 | 1.1202 |  | 8.9 | 8 | 8.4 | 19 | 18.5 | 18.1 | 18.5333 | 88 | 77 | 79 | 88 | 0.062 | 0.056735 | 0.06 | 0.062 | 18.9 | 18 | 27 | 18.9 |  |  | 4.94 | 4.89 | 96 | 95.7 | 105 | 96 | 0.089 | 0.09 | 0.089 | 7.9 | 2.59 | 8 | 7.9 | 12 | 11 | 11.5 | 1.57 | 1.5 | 1.57 | 29.66 | 27.3919 | 29.66 | 3.8 | 3.55 | 3.7 | 3.6833 |  | 2 | <1 | 1 | 231 | 229 | 253.6785 | 224 | 231 |  | 0.7 | 0.5 | 0.6 |  | 0.52 | 0.42 |  | 0.06 | 0.06 | 11 | 10.55 | 10 | 11 | 0.342 | 0.31774 | 0.33 | 0.342 | 0.74 | <0.5 | 0.8 |  | 0.28 | 0.28 | 3 | 2.93 | 3.15 | 3 | 112 | 109 | 109 | 112 | 2 | 3 | 3 | 2 | 18 | 17.5 | 18.8 | 18 | 1.6 | 1.85 | 1.9 | 106 | 102 | 88 | 106 | 160 | 146 | 151 | 160
NIST-2710 | soil | 35.3 | 34.4 | 37 | 35.3 | 6.44 | 6.2981 | 6.3 | 6.44 | 626 | 597 | 626 | 0.6 |  | 707 | 713 | 716.528 | 684 | 707 |  | <5 |  | 18 | 20.3 | 19.1 | 6 | 1.25 | 1.265 | 1.3 | 1.25 | 21.8 | 19.9 | 21.6 | 21.8 | 57 | 58 | 54.9 | 57 |  | 10 | 8 | 10.1 | 10 | 39 | 30 |  | 30 | 39 | 107 | 107.5 | 101 | 107 | 2950 | 2830 | 2920 | 2950 | 5.4 | 3.7 | 3.79 | 5.4 |  | 2.28 | 2.26 | 1 | 1.05 | 1 | 3.38 | 3.3643 | 3.27 | 3.38 | 34 | 35.7 | 49 |  | 4.02 | 3.94 |  | 17 | 3.2 | 3.6 | 4 | 3.2 | 32.6 | >25.0 | 31.2 | 32.6 | 0.6 | 0.73 | 0.74 | 5.1 | 4.6 | 2.11 | 2.0671 | 2.3 | 2.11 | 34 | 30.3 | 28.3 | 34 |  | 40 |  | 0.36 | 0.26 | 0.853 | 0.82616 | 0.81 | 0.853 | 10100 | 10067.941 | 9470 | 10100 | 19 | 16 | 22 | 19 | 1.14 | 1.135 |  | 11.3 | 10 | 10.7 | 23 | 24.8 | 24.3 | 24.0333 | 14.3 | 11 | 17 | 14.3 | 0.106 | 0.091648 | 0.11 | 0.106 | 5532 | 5150 | 5590 | 5532 |  |  | 6.71 | 6.58 | 120 | 134.5 | 142 | 132.1667 | 0.24 | 0.24 | 0.24 | 38.4 | 21.9 | 33.3 | 38.4 | 8.7 | 9 | 8.8 |  | 1.5 | 1.5 | 28.97 | 28.3735 | 28.97 | 7.8 | 4.58 | 4.6 | 5.66 |  | 8 | 7 | 7.5 | 330 | 345 | 338.238 | 319 | 330 |  | 0.8 | 0.6 | 0.7 |  | 0.63 | 0.55 |  | 3.44 | 3.44 | 13 | 13.45 | 12.1 | 13 | 0.283 | 0.27577 | 0.28 | 0.283 | 1.3 | <0.5 | 1.4 |  | 0.34 | 0.36 | 25 | 24.3 | 22.5 | 25 | 76.6 | 75 | 75 | 76.6 | 93 | 99 | 90 | 93 | 23 | 22.6 | 23.7 | 23 | 1.3 | 2.31 | 2.3 | 6952 | 6540 | 6480 | 6952 |  | 135 | 142 | 138
NIST-2711 | soil | 4.63 | 4.5 | 5 | 4.63 | 6.53 | 6.3245 | 6.46 | 6.53 | 105 | 94 | 105 | 0.03 |  | 726 | 738 | 716.528 | 696 | 726 |  | <5 |  | 2.4 | 2.2 | 2.3 | 5 | 2.88 | 2.8374 | 2.9 | 2.88 | 41.7 | 38.8 | 40 | 41.7 | 69 | 73.2 | 67.6 | 69 |  | 10 | 10 | 10.1 | 10 | 47 | 40 | 68.4202 | 50 | 47 | 6.1 | 6.88 | 6.5 | 6.4933 | 114 | 133 | 119 | 114 | 5.6 | 5.06 | 5.01 | 5.6 |  | 3.06 | 3.09 | 1.1 | 1.08 | 1.01 | 2.89 | 2.8327 | 2.85 | 2.89 | 15 | 15.9 | 22 |  | 5.14 | 4.83 |  | 2 | 7.3 | 7.7 | 8 | 7.3 | 6.25 | 6.07 | 6.36 | 6.25 | 1 | 1.02 | 1.02 | 1.1 | 1 | 2.45 | 2.3908 | 2.6 | 2.45 | 40 | 38.7 | 34.1 | 40 |  | 30 |  | 0.49 | 0.43 | 1.05 | 1.001 | 1.01 | 1.05 | 638 | 619.5656 | 640 | 638 | 1.6 | 1 | 4 | 1.6 | 1.14 | 1.1573 |  | 18.6 | 18 | 18.3 | 31 | 31.8 | 30.4 | 31.0667 | 20.6 | 19 | 23 | 20.6 | 0.086 | 0.08292 | 0.09 | 0.086 | 1162 | 1100 | 1130 | 1162 |  |  | 8.55 | 8.06 | 110 | 122.5 | 125 | 119.1667 | 0.042 | 0.04 | 0.042 | 19.4 | 13.15 | 19.4 | 19.4 | 9 | 9 | 9 | 1.52 | 1.6 | 1.6 | 30.44 | 29.9628 | 30.44 | 5.9 | 5.98 | 5.9 | 5.9267 |  | 5 | 4 | 4.5 | 245.3 | 259 | 253.6785 | 243 | 245.3 |  | 1.4 | 1.1 | 1.3 |  | 0.83 | 0.7 |  | 1.22 | 1.22 | 14 | 13.8 | 12.1 | 14 | 0.306 | 0.29975 | 0.32 | 0.306 | 2.47 | 1 | 2.3 |  | 0.49 | 0.46 | 2.6 | 3.09 | 2.8 | 2.6 | 81.6 | 85 | 84 | 81.6 | 3 | 5 | 7 | 3 | 25 | 31 | 31.1 | 29.0333 | 2.7 | 3.22 | 3.1 | 350.4 | 391 | 333 | 350.4 |  | 288 | 305 | 296
OREAS 132b | Zn-Pb Sedex | 61 | 62.1 | 66 | 61 | 3.95 | 3.8159 | 3.76 | 3.95 | 155 | 153 | 155 |  |  | 890 | 971 | 895.66 | 827 | 890 |  | <5 |  | 0.3 | 0.3 | 0.3 |  | 5.15 | 4.8028 | 4.8 | 5.15 | 174 | 159.5 | 174 | 174 |  | 47.9 | 44.5 | 46.2 |  | 43 | 42 | 48.5 | 43 |  | 40 |  | 30 | 35 |  | 2.8 | 2.1 | 2.4 | 467 | 491 | 517 | 467 |  | 2.52 | 3.09 | 2.8 |  | 1.51 | 1.68 |  | 0.82 | 0.71 | 7.81 | 7.5189 | 7.32 | 7.81 |  | 10.8 | 15 |  | 3.03 | 2.99 |  | 20 |  | 2.6 | 3 | 2.8 |  | 0.679 | 0.809 | 0.744 |  | 0.52 | 0.63 |  | 0.5 |  | 2.7478 | 2.8 | 2.78 |  | 24.1 | 22 | 23.05 |  | 30 |  | 0.24 | 0.16 | 2.89 | 2.6895 | 2.74 | 2.89 |  | 2013.5882 | 2100 | 2056.7941 |  | 5 | 6 | 5.5 |  | 0.1187 |  | 6.6 | 7 | 6.8 |  | 19.8 | 19.3 | 19.55 |  | 16 | 21 | 18.5 |  | 0.078556 | 0.06 | 0.069278 | 38800 | 37500 | >10000 | 38800 |  |  | 5.42 | 5.24 |  | 105.5 | 104 | 104.7 | 8.23 | 8.66 | 8.23 | 51 | 36.8 | 50.4 | 51 |  | 5 | 5 |  | 4 | 4 | 17.8 | 17.529 | 17.8 |  | 3.7 | 3.6 | 3.65 |  | 2 | 1 | 1.5 |  | 29.3 | <50 | 24.9 | 27 |  | 0.5 | <0.5 | 0.3 |  | 0.47 | 0.42 |  | 0.06 | 0.06 |  | 7.6 | 7.2 | 7.4 |  | 0.095921 | 0.15 | 0.125 |  | 44.6 | 57.9 |  | 0.24 | 0.26 |  | 2.63 | 2.67 | 2.65 |  | 41 | 41 | 41 |  | 2 | 2 | 2 |  | 15.2 | 18.7 | 16.9 |  | 1.49 | 1.6 | 51900 | 50200 | >10000 | 51900 |  | 94 | 93.8 | 94
OREAS 14P | Ni-Cu-Pt-Pd-Au |  | 1.1 | 2 | 1.5 | 2.26 | 2.1805 | 2.27 | 2.26 |  | <5 | 2.5 | 0.051 |  |  | 339 | 358.264 | 301 | 332.7547 | 343 | <5 |  | 0.36 | 0.3 | 0.33 |  |  | 0.95055 | 1 | 0.975 |  | <0.5 | 1.2 | 0.7 |  | 52 | 51.9 | 52 |  | 754 | 683 | 707 | 754 | 52 | 10 | 68.4202 | 60 | 52 |  | 0.18 | <0.1 | 0.18 | 9970 | 9920 | >10000 | 9970 |  | 4.91 | 5.81 | 5.36 |  | 2.49 | 2.94 |  | 1.17 | 1.26 | 37.1 | 34.6219 | >30 | 37.1 |  | 5.6 | 12 |  | 4.64 | 5.26 |  | 2 |  | 3.7 | 5 | 4.1 |  | 0.02 | <0.005 | 0.01 |  | 0.93 | 1.14 |  | <0.2 | 0.87 | 0.84675 | 0.9 | 0.87 |  | 25.5 | 23.9 | 24.7 |  | <10 |  | 0.32 | 0.28 | 0.28 | 0.26534 | 0.27 | 0.28 | 595 | 697.0113 | 560 | 595 |  | 1 | 4 | 2.5 | 0.58 | 0.57123 |  | 3.7 | 7 | 5.3 |  | 25.7 | 26 | 25.85 | 21000 | 21300 | >10000 | 21000 |  | 0.078556 | 0.06 | 0.069278 | <20 | 20 | 20 | 20 |  |  | 6.4 | 6.54 |  | 40 | 40.5 | 40.25 | 23.8 | 24.3 | 23.8 |  | 0.06 | 0.4 | 0.23 | 5.5 | <5 | 5.5 |  | 41.5 | 41.5 |  | 8.6944 | 8.6944 |  | 5.28 | 5.4 | 5.34 |  | 11 | 1 | 6 | 87 | 86.6 | 169.119 | 80.8 | 87 |  | 0.2 | <0.5 | 0.2 |  | 0.85 | 0.82 |  | 0.98 | 0.98 |  | 6.81 | 6.5 | 6.655 | 0.2473 | 0.23381 | 0.24 | 0.2473 |  | <0.5 | <0.5 |  | 0.37 | 0.41 |  | 0.69 | 0.65 | 0.67 | 67 | 17 | 91 | 67 |  | 3 | 2 | 2.5 |  | 26 | 22.2 | 24 |  | 2.26 | 2.4 | 81 | 81 | 72 | 81 | 189 | 181 | 225 | 189
OREAS 166 | Cu ore | 12 | 10.7 | 12 | 12 | 0.709 | 0.64569 | 0.71 | 0.709 |  | 2790 | 2790 |  |  |  | 24.1 | <50 | 18.4 | 21.2 |  | <5 |  | 31.3 | 33.7 | 32.5 |  | 0.7 | 0.67182 | 0.7 | 0.7 |  | <0.5 | 0.8 | 0.5 |  | 21.8 | 21.6 | 21.7 |  | 2077 | 2040 | 2110 | 2077 |  | 60 | 68.4202 | 50 | 61 |  | 0.27 | <0.1 | 0.27 | 87500 | 84300 | >10000 | 87500 |  | 0.78 | 1.29 | 1.03 |  | 0.36 | 0.53 |  | 0.35 | 0.31 | 11.45 | 10.7013 | 10.8 | 11.45 |  | 2.2 | 3 |  | 1.22 | 1.57 |  | 5 |  | 0.7 | <1 | 0.7 |  | 0.28 | 0.313 | 0.2965 |  | 0.13 | 0.21 |  | 4.5 |  | 0.21584 | 0.2 | 0.21 |  | 12.3 | 11.8 | 12.05 |  | <10 |  | 0.03 | <0.05 | 1.007 | 0.91661 | 0.94 | 1.007 |  | 154.8914 | 200 | 177.4457 |  | 11 | 13 | 12 |  | 0.0074186 |  | 1.1 | 1 | 1.05 |  | 9 | 9.6 | 9.3 |  | 111 | 78 | 94.5 |  | 0.034914 | 0.01 | 0.022457 | 128 | 131 | 129 | 128 |  |  | 2.45 | 2.54 |  | 5.6 | 5.3 | 5.45 | 11.29 | 10.9 | 11.29 |  | 15.45 | 19.5 | 17.475 |  | <5 | 2.5 |  | 0.9 | 0.9 | 28.67 | 27.6256 | 28.67 |  | 1.91 | 1.9 | 1.905 |  | 5 | 7 | 6 |  | 2.6 | <50 | 5.6 | 4.1 |  | 0.1 | <0.5 | 0.1 |  | 0.17 | 0.15 |  | 0.04 | 0.04 |  | 1.31 | 1.5 | 1.405 |  | <0.01 | 0.03 | 0.01 |  | 7.1 | 7.2 |  | 0.01 | 0.06 |  | 1.21 | 1.35 | 1.28 |  | <5 | 12 | 7 |  | 3 | 1 | 2 |  | 4.1 | 6.7 | 5.4 |  | 0.22 | 0.3 | 37 | 33 | 55 | 37 |  | 27 | 21.8 | 24.5
OREAS 76a | NiS ore |  | 0.9 | 2 | 1.5 | 0.942 | 0.88914 | 0.94 | 0.942 | 117 | 104 | 117 |  |  |  | 35.5 | <50 | 22.7 | 29.1 |  | <5 |  | 1.11 | 0.9 | 0.95 |  |  | 1.0863 | 1.1 | 1.095 |  | <0.5 | 1.1 | 0.7 |  | 7.5 | 9.4 | 8.5 |  | 1215 | 1090 | 1240 | 1215 | 1283 | 700 | 1163.14 | 1240 | 1283 |  | 1.81 | 1.3 | 1.5 | 2974 | 2860 | 2940 | 2974 |  | 0.96 | 1.07 | 1.01 |  | 0.72 | 0.51 |  | 1.3 | 0.19 | 24.6 | 24.9698 | 23.9 | 24.6 |  | 2.6 | 4 |  | 1.35 | 0.72 |  | 2 |  | 0.6 | <1 | 0.6 |  | 0.023 | 0.022 | 0.0225 |  | 0.21 | 0.21 |  | <0.2 |  | 0.099618 | 0.1 | 0.1 |  | 4 | 4.7 | 4.35 |  | 10 |  | 0.13 | <0.05 | 9.95 | 9.4978 | 9.6 | 9.95 |  | 697.0113 | 790 | 743.5056 |  | 2 | 4 | 3 |  | 0.1187 |  | 0.4 | 1 | 0.7 |  | 2.8 | 3.8 | 3.3 | 74000 | 69100 | >10000 | 74000 |  | 0.026185 | <0.01 | 0.015 |  | 10 | 16 | 13 |  |  | 0.75 | 1.08 |  | 8.6 | 8.7 | 8.65 | 18 | 18.35 | 18 |  | 0.86 | 1.6 | 1.23 |  | <5 | 2.5 |  | 6 | 6 | 10.13 | 10.2369 | 10.13 |  | 0.49 | 0.7 | 0.595 |  | <1 | <1 | 0.5 |  | 14.4 | <50 | 16.4 | 15.4 |  | <0.1 | <0.5 | 0.05 |  | 0.23 | 0.11 |  | 0.8 | 0.8 |  | 2.7 | 1.6 | 2.15 |  | <0.01 | 0.05 | 0.02 |  | 1.5 | 0.8 |  | 0.1 | 0.06 |  | 0.61 | 0.47 | 0.54 |  | <5 | 50 | 26 |  | 3 | 4 | 3.5 |  | 3.1 | 3.2 | 3.15 |  | 0.69 | 0.4 |  | 38 | 59 | 49 |  | 26 | 21.3 | 23.5
PCC-1 | peridotite | 0.008? | <0.5 | <1 | 0.008 | 0.35724 | 0.33872 | 0.35 | 0.35724 | 0.056 | <5 | 0.056 | 0.0079 | 1.7 | 1.2? | 1.4 | <50 | <0.5 | 1.4 | 0.05? | <5 | 0.008 | 0.01 | <0.1 | 0.008 | 0.44 | 0.37164 | 0.37879 | 0.4 | 0.37164 | 0.019 | <0.5 | 0.7 | 0.02 | 0.1 | <0.5 | 0.3 | 0.2 | 71 | 112 | 104 | 119 | 112 | 2730 | 2820 | 2736.808 | 2790 | 2730 | 0.0055 | <0.01 | <0.1 | 0.0055 | 10 | 8 | 7 | 10 | 0.01 | <0.05 | 0.06 | 0.01 | 0.012? | 0.03 | <0.05 | 0.0018 | <0.03 | <0.05 | 5.7703 | 5.8193 | 5.64 | 5.7703 | 0.7? | 0.9 | 1 | 0.014? | <0.05 | <0.05 | 0.94 | 1 | 0.04? | 0.9 | <1 | 0.2 | 0.006? | 0.028 | 0.027 | 0.006 | 0.0025 | 0.01 | <0.05 | 0.0037 | <0.2 | 0.005811 | 0.016603 | <0.1 | 0.005811 | 0.052 | 0.7 | 0.1 | 0.052 | 1.6 | <10 | 0.0057 | 0.01 | <0.05 | 26.1899 | 26.1718 | 26.3 | 26.1899 | 929.34 | 929.3484 | 910 | 929.34 | 2? | <1 | 3 | 2 | 0.022256 | 0.0074186 | 1? | <0.2 | <1 | 1 | 0.042 | 0.1 | 0.2 | 0.114 | 2380 | 2280 | 2260 | 2380 | 0.00087284 | 0.0043642 | <0.01 | 0.00087284 | 10 | 10 | 9 | 10 | 0.0062 | 0.013 | 0.04 | <0.05 | 0.066 | 0.2 | 1.4 | 0.066 | 0.002 | <0.01 | 0.002 | 1.28 | 0.73 | 1.5 | 1.28 | 8.4 | 8 | 8.4 | 0.027 | <0.2 | 0.027 | 19.4969 | 19.7727 | 19.4969 | 0.0066 | <0.03 | <0.1 | 0.0066 | 1.6 | 1 | <1 | 1.6 | 0.4 | 1 | 84.5595 | 0.4 | 0.4 | 0.02? | <0.1 | <0.5 | 0.02 | 0.0015 | <0.01 | <0.05 | 0.0031? | 0.02 | 0.0031 | 0.013 | <0.05 | <0.1 | 0.013 | 0.0066621 | 0.017985 | <0.01 | 0.0066621 | 0.002? | <0.5 | <0.5 | 0.0027 | <0.01 | <0.05 | 0.0045 | <0.05 | 0.17 | 0.0045 | 31 | <5 | 38 | 31 | 0.02? | <1 | <1 | 0.02 | 0.1? | <0.5 | <0.5 | 0.1 | 0.024 | 0.04 | <0.1 | 42 | 41 | 31 | 42 | 10 | 37 | 1.6 | 16.2
PF 1002SS | stream sed | 0.041 | <0.5 |  | 0.041 | 5.29 | 5.5836 |  | 5.4368 | 4.7 |  | 4.7 | 0.0012 | <20 | 520 | 556 | 537.396 |  | 537.7987 | 6 |  | 0.14 | 0.09 |  | 0.11 | 7.1 | 2.36 | 2.6444 |  | 2.5 | 0.54 | <0.5 |  | 0.5 | 531 | 534 |  | 533 |  | 25.4 | 24 |  | 24.7 | 98 | 40 | 68.4202 |  | 68.8067 | 2.4 | 2.64 |  | 2.52 | 42.24 | 74 |  | 43 | 72 | 67 |  | 69.5 | 48.8 | 49.1 |  | 7.2 | 8.11 |  | 11.24 | 11.8554 |  | 11.55 | 15.54 | 18.5 |  | 55.2 | 51.9 |  | 0.5 |  | 17 | 16.1 |  | 16.5 | 0.023 | 0.051 |  | 0.037 | 16 | 15.15 |  | <.02 |  | 1.6 | 1.6603 |  | 1.63 | 244 | 238 |  | 241 | 43.4 |  | 5.3 | 6.03 |  | 0.86 | 0.89249 |  | 0.87 | 15001 | 13243.2147 |  | 14122.1074 | 15.48 | 16 |  | 15.7 | 1.79 | 1.8546 | 33.52 | 30.8 |  | 32.1 | 244.3 | 234 |  | 244.3 | 28.4 | 28 |  | 28 | 0.087 | 0.11347 |  | 0.10023 | 31.85 | 77 |  | 40 |  | 60.6 | 61.6 | 61.1 | 68.5 | 86.2 |  | 77.35 | 0.12 | 0.1 | 0.11 | 0.21 | 0.1 |  | 0.15 | 9.4 |  | 9.4 | 0.9 | 7.8 | 8.4 |  | 22.2968 | 22.2968 | 46.7 | 50.1 |  | 46.7 | 2.8 | 3 |  | 2.9 | 260 | 273 | 253.6785 |  | 264 | 1.3 | 1.3 |  | 1.3 | 11 | 9.87 |  | 0.03 | 0.06 | 0.045 | 162 | 148 |  | 162 | 0.352 | 0.32973 |  | 0.341 | 0.31 | 0.5 |  | 6.5 | 7.51 |  | 133.2 | 124.5 |  | 129 | 63 | 78 |  | 71 | 5 | 6 |  | 5.5 | 458 | 461 |  | 460 | 45.3 | 44.7 |  | 148.2 | 217 |  | 149 | 590 | 650 |  | 650
PF 1008SS | stream sed | 0.296 | <0.5 |  | 0.296 | 3.46 | 3.7736 |  | 3.6168 | 7.8 |  | 7.8 | 0.0054 | <20 | 280 | 415 | 447.83 |  | 431.4 | 5 |  | 0.22 | 0.21 |  | 0.21 | 114 | 2.27 | 2.287 |  | 2.28 | 2.11 | 1.8 |  | 1.9 | 220 | 202 |  | 211 |  | 23.7 | 24 |  | 24 | 29 | 30 |  |  | 30 | 2.8 | 3.26 |  | 3.03 | 204 | 200 |  | 200 | 27 | 54.1 |  | 40.55 | 17.2 | 38.4 |  | 3.5 | 9.61 |  | 3.29 | 3.714 |  | 3.5 | 9.6 | 11.8 |  | 27.2 | 66 |  | 0.4 |  | 8 | 8.8 |  | 8.4 | 0.117 | 0.124 |  | 0.124 | 5.8 | 11.85 |  | 0.04 |  | 0.94 | 1.046 |  | 1 | 140 | 147 |  | 143 | 26.8 |  | 2.6 | 6.25 |  | 0.9 | 0.97692 |  | 0.94 | 538 | 619.5656 |  | 578.7828 | 61.58 | 64 |  | 63 | 0.55 | 0.66767 | 8.11 | 10.4 |  | 9.2 | 135.6 | 132.5 |  | 135.6 | 79.6 | 72 |  | 76 | 0.149 | 0.12656 |  | 0.13778 | 100.53 | 103 |  | 103 |  | 33.6 | 32.6 | 33.1 | 37.6 | 49 |  | 43.3 | 1.17 | 1.07 | 1.12 | 0.36 | 0.39 |  | 0.38 | 9 |  | 9 | 3.3 | 6.5 | 4.9 |  | 15.0515 | 15.0515 | 26.1 | 26.5 |  | 26.1 | 2.1 | 2 |  | 2 | 241 | 274 | 253.6785 |  | 264 | 0.4 | 0.5 |  | 0.45 | 4.8 | 9.34 |  | 0.05 | 0.16 | 0.1 | 107.6 | 184.5 |  | 107.6 | 0.213 | 0.20983 |  | 0.211 | 0.62 | 1 |  | 6.2 | 5.91 |  | 2730 | >1000 |  | 2730 | 33 | 44 |  | 38 | 9 | 8 |  | 8.5 | 182 | 198.5 |  | 190 | 17.2 | 37.6 |  | 673 | 721 |  | 673 | 167 | 362 |  | 362
PF 1010SS | stream sed | 0.065 | <0.5 |  | 0.065 | 5.93 | 6.2452 |  | 6.0876 | 2.9 |  | 2.9 | <.0002 | <20 | 770 | 770 | 716.528 |  | 752.176 | 4 |  | 0.1 | 0.07 |  | 0.09 | 19 | 2.93 | 3.2376 |  | 3.08 | 0.94 | 0.6 |  | 0.9 | 160 | 144.5 |  | 152 |  | 21.8 | 18 |  | 19.9 | 48 | 40 | 68.4202 |  | 52.1401 | 1.9 | 1.79 |  | 1.84 | 10.91 | 13 |  | 11 | 16.9 | 16.5 |  | 16.7 | 10.8 | 11.6 |  | 2.8 | 3.05 |  | 7.39 | 7.8336 |  | 7.61 | 17.84 | 19.1 |  | 14.7 | 14.65 |  | 0.2 |  | 24 | 24 |  | 24 | 0.049 | 0.06 |  | 0.055 | 3.6 | 3.68 |  | 0.03 |  | 1.47 | 1.5607 |  | 1.51 | 73 | 64.3 |  | 68.3 | 25.3 |  | 1.6 | 1.97 |  | 0.98 | 0.99501 |  | 0.99 | 8343 | 7434.7872 |  | 7888.8936 | 10.16 | 11 |  | 10.6 | 2.33 | 2.3517 | 22.73 | 23.4 |  | 23.1 | 80.2 | 73.6 |  | 80.2 | 14.3 | 14 |  | 14 | 0.267 | 0.25312 |  | 0.26006 | 17.97 | 19 |  | 18.5 |  | 18.7 | 18.35 | 18.5 | 45.6 | 53.3 |  | 49.45 | 0.09 | 0.07 | 0.08 | 0.18 | 0.08 |  | 0.13 | 12.2 |  | 12.2 | 0.8 | 2 | 1.4 |  | 23.7926 | 23.7926 | 14.4 | 16.05 |  | 14.4 | 4.4 | 4 |  | 4.2 | 355 | 386 | 422.7975 |  | 403 | 1.2 | 1.2 |  | 1.2 | 3.1 | 2.58 |  | 0.02 | 0.09 | 0.05 | 9.1 | 8.54 |  | 9.1 | 0.73 | 0.71941 |  | 0.724 | 0.24 | <0.5 |  | 1.5 | 1.82 |  | 28.7 | 22.7 |  | 25.7 | 84 | 97 |  | 91 | 1 | 4 |  | 3 | 100 | 114 |  | 107 | 11.6 | 12.7 |  | 242 | 239 |  | 242 | 870 | 1130 |  | 1000
RGM-1 | rhyolite | 0.108 | <0.5 | <1 | 0.108 | 7.2613 | 7.039 | 7.18 | 7.2613 | 3 | <5 | 3 | 0.00033? | 28 | 807 | 891 | 895.66 | 792 | 807 | 2.37 | <5 | 0.274 | 0.01 | 0.2 | 0.274 | 1.34 | 0.82191 | 0.85049 | 0.8 | 0.82191 | 0.065 | <0.5 | 0.6 | 0.065 | 47 | 50.1 | 44.2 | 47 | 510 | 2 | 4 | 2.2 | 2 | 3.7 | 10 |  | <10 | 3.7 | 9.6 | 10.25 | 9 | 9.6 | 11.6 | 9 | 8 | 11.6 | 4.08 | 3.82 | 3.78 | 4.08 | 2.6 | 2.37 | 2.44 | 0.66 | 0.62 | 0.56 | 1.3009 | 1.252 | 1.27 | 1.3009 | 15 | 16.1 | 22 | 3.7 | 3.51 | 3.41 | 1.3? | 2 | 6.2 | 6.1 | 6 | 6.2 | 0.022? | 0.03 | 0.027 | 0.022 | 0.95 | 0.76 | 0.73 | 0.15? | <0.2 | 3.5696 | 3.4866 | 3.8 | 3.5696 | 24 | 26.4 | 21.4 | 24 | 57 | 60 | 0.41 | 0.42 | 0.34 | 0.16583 | 0.16885 | 0.17 | 0.16583 | 278.802 | 309.7828 | 280 | 278.802 | 2.3 | 2 | 5 | 2.3 | 3.0194 | 2.9823 | 8.9 | 9.2 | 9 | 8.9 | 19 | 20.5 | 18.6 | 19 | 4.4? | 18 | 7 | 7 | 0.021? | 0.021821 | 0.02 | 0.021 | 24 | 20 | 26 | 24 |  | 4.7 | 5.7 | 5.17 | 149 | 160 | 162 | 149 | 0.0054? | <0.01 | 0.0054 | 1.26 | 0.6 | 1.6 | 1.26 | 4.4 | <5 | 4.4 | <0.006 | <0.2 | 0.003 | 34.3334 | 33.8426 | 34.3334 | 4.3 | 4.13 | 3.5 | 4.3 | 4.1 | 4 | 3 | 4.1 | 108 | 112 | 84.5595 | 106 | 108 | 0.95 | 0.9 | 0.7 | 0.95 | 0.66 | 0.62 | 0.47 | 0.015 | <0.01 | 0.015 | 15.1 | 15.15 | 13.3 | 15.1 | 0.17788 | 0.15587 | 0.16 | 0.17788 | 0.93 | <0.5 | 1 | 0.37 | 0.37 | 0.36 | 5.8 | 5.71 | 5.26 | 5.8 | 13 | 14 | 12 | 13 | 1.5 | 2 | 2 | 1.5 | 25 | 23.2 | 24 | 25 | 2.6 | 2.61 | 2.5 | 32 | 31 | 15 | 32 | 219 | 227 | 241 | 219
SCO-1 | shale | 0.134 | <0.5 | <1 | 0.134 | 7.2507 | 7.039 | 7.08 | 7.2507 | 12 | 14 | 12 | 0.0021 | 72 | 570 | 606 | 626.962 | 552 | 570 | 1.8 | <5 | 0.37 | 0.37 | 0.4 | 0.37 | 1.03? | 1.8725 | 1.8582 | 1.9 | 1.8725 | 0.14 | <0.5 | 1 | 0.14 | 62 | 60.7 | 54.7 | 62 | 51 | 11 | 11 | 12.8 | 11 | 68 | 70 | 68.4202 | 70 | 68 | 7.8 | 8.13 | 7 | 7.8 | 29 | 27 | 28 | 29 | 4.2 | 4.25 | 4.34 | 4.2 | 2.5 | 2.44 | 2.55 | 1.19 | 1.09 | 1.04 | 3.5881 | 3.5671 | 3.47 | 3.5881 | 15 | 16.9 | 22 | 4.6 | 4.47 | 4.36 | 1? | 3 | 4.6 | 4.8 | 5 | 4.6 | 0.052? | 0.076 | 0.078 | 0.062 | 0.97 | 0.83 | 0.83 | 0.11? | <0.2 | 2.2995 | 2.2082 | 2.4 | 2.2995 | 30 | 32 | 27.4 | 30 | 45 | 50 |  | 0.38 | 0.31 | 1.6403 | 1.5739 | 1.57 | 1.6403 | 410 | 387.2285 | 390 | 410 | 1.4 | <1 | 4 | 1.4 | 0.66767 | 0.68251 | 11 | 12.1 | 12 | 11 | 26 | 28.2 | 25.7 | 26 | 27 | 25 | 28 | 27 | 0.091648 | 0.091648 | 0.1 | 0.091648 | 31 | 29 | 35 | 31 | 0.001 | 6.6 | 7.32 | 6.8 | 110 | 122 | 124 | 110 | 0.063 | 0.07 | 0.063 | 2.5 | 1.18 | 3 | 2.5 | 11 | 11 | 11 | 0.89 | 1 | 0.89 | 29.3552 | 29.2617 | 29.3552 |  | 5.33 | 5.1 | 5.215 | 3.7 | 3 | 2 | 3.7 | 170 | 180 | 169.119 | 167 | 170 |  | 0.8 | 0.7 | 0.75 |  | 0.71 | 0.62 | 0.082 | 0.05 | 0.082 | 9.7 | 9.9 | 8.5 | 9.7 | 0.41971 | 0.34771 | 0.35 | 0.41971 |  | <0.5 | 1 |  | 0.36 | 0.37 |  | 3.14 | 2.93 | 3.035 | 130 | 138 | 132 | 130 | 1.4 | 2 | 2 | 1.4 | 26 | 24.4 | 25.8 | 26 |  | 2.52 | 2.3 | 100 | 105 | 83 | 100 | 160 | 192 | 183 | 160
SDC-1 | mica schist | 0.041 | <0.5 | <1 | 0.041 | 8.3357 | 8.124 | 8.15 | 8.3357 | 0.22 | <5 | 0.22 | 0.0012 | 12.8 | 630 | 683 | 626.962 | 620 | 630 | 3 | <5 | 0.26 | 0.28 | 0.3 | 0.26 | 0.097? | 1.0006 | 1.0077 | 1 | 1.0006 | 0.08? | <0.5 | 1.2 | 0.08 | 93 | 92.4 | 87.3 | 93 | 32 | 17.9 | 16 | 20.5 | 17.9 | 64 | 60 | 68.4202 | 60 | 64 | 4 | 4.11 | 4.5 | 4 | 30 | 32 | 31 | 30 | 6.7 | 6.91 | 7.02 | 6.7 | 4.1 | 4.35 | 4.48 | 1.71 | 1.55 | 1.58 | 4.8261 | 4.7701 | 4.67 | 4.8261 | 21.2 | 21.8 | 32 | 7.2 | 7.07 | 6.91 | 1.5? | 2 | 8.3 | 8.7 | 9 | 8.3 | 0.023? | 0.028 | 0.023 | 0.023 | 1.5 | 1.4 | 1.53 | 0.12? | 0.7 | 2.7229 | 2.6233 | 2.8 | 2.7229 | 42 | 44 | 40.1 | 42 | 34 | 40 | 0.53 | 0.71 | 0.63 | 1.0191 | 0.98898 | 1 | 1.0191 | 882.873 | 851.9027 | 890 | 882.873 | 0.25? | <1 | 3 | 0.25 | 1.5208 | 1.4837 | 18 | 18.7 | 19 | 18 | 40 | 43 | 41 | 40 | 38 | 32 | 36 | 38 | 0.068955 | 0.061099 | 0.07 | 0.068955 | 25 | 22 | 28 | 25 | 0.0011 | 9.8 | 11.2 | 10.9 | 127 | 132 | 141 | 127 | 0.065 | 0.07 | 0.065 | 0.54 | 0.43 | 1 | 0.54 | 17 | 14 | 17 | 0.032 | 0.7 | 0.032 | 30.7809 | 30.5705 | 30.7809 | 8.2 | 8.27 | 8.2 | 8.2 | 3 | 3 | 4 | 3 | 183 | 187 | 169.119 | 176 | 183 | 1.21 | 1.2 | 1 | 1.21 | 1.18 | 1.1 | 1.05 | 0.006? | 0.03 | 0.006 | 12.1 | 12.25 | 11.1 | 12.1 | 0.67287 | 0.59351 | 0.59 | 0.67287 | 0.7 | <0.5 | 0.8 | 0.65 | 0.68 | 0.7 | 3.14 | 2.9 | 2.8 | 3.14 | 102 | 101 | 98 | 102 | 0.8 | 2 | 3 | 0.8 | 40 | 38.7 | 41.1 | 40 | 4 | 4.59 | 4.5 | 103 | 103 | 96 | 103 | 290 | 328 | 342 | 290
SGR-1 | shale |  | <0.5 | <1 | 0.25 | 3.4507 | 3.2708 | 3.15 | 3.4507 | 67 | 59 | 67 | 0.0089 | 54 | 290 | 255 | 268.698 | 261 | 290 | 1.06 | <5 | 0.94 | 0.75 | 1.4 | 0.94 |  | 5.9892 | 5.6175 | 5.5 | 5.9892 | 0.93 | 1.1 | 2 | 1.3433 | 36 | 33.3 | 33.7 | 36 | 32? | 11.8 | 12 | 12 | 11.8 | 30 | 40 |  | 30 | 30 | 5.2 | 5.12 | 4.5 | 5.2 | 66 | 70 | 61 | 66 | 1.9 | 1.72 | 1.74 | 1.9 | 1.11 | 1.03 | 1.15 | 0.56 | 0.46 | 0.45 | 2.1193 | 1.9934 | 1.88 | 2.1193 | 11 | 8.9 | 13 | 2 | 2.05 | 1.86 | 1.6? | 3 | 1.39 | 1.9 | 1 | 1.39 | 0.313? | 0.277 | 0.28 | 0.313 | 0.38 | 0.33 | 0.37 | 0.096? | 0.3 | 1.378 | 1.4528 | 1.3 | 1.378 | 20.3 | 20.7 | 17.8 | 20.3 | 147 | 130 | 0.14 | 0.13 | 0.08 | 2.6775 | 2.4966 | 2.45 | 2.6775 | 263.313 | 232.3371 | 230 | 263.313 | 35.1 | 35 | 39 | 35.1 | 2.2182 | 2.2552 | 5.2 | 6.3 | 7 | 5.2 | 15.5 | 14.1 | 14.7 | 15.5 | 29 | 31 | 28 | 29 | 0.14315 | 0.11347 | 0.12 | 0.14315 | 38 | 43 | 39 | 38 | 0.0052 | 3.9 | 3.9 | 4.01 | 83 | 76.8 | 86.5 | 83 | 1.53 | 1.5 | 1.53 | 3.4 | 1.72 | 3.9 | 3.4 | 4.6 | <5 | 4.6 | 3.61 | 3.9 | 3.61 | 13.2005 | 12.6676 | 13.2005 | 2.7 | 2.49 | 2.4 | 2.7 | 1.9 | 2 | 2 | 1.9 | 420 | 383 | 422.7975 | 344 | 420 | 0.42 | 0.4 | <0.5 | 0.42 | 0.36 | 0.26 | 0.21 | 0.234 | 0.21 | 0.234 |  | 4.49 | 4.4 | 4.445 | 0.17588 | 0.14388 | 0.14 | 0.17588 | 0.33? | <0.5 | 0.8 | 0.17 | 0.14 | 0.16 | 5.4 | 4.99 | 5.04 | 5.4 | 128 | 145 | 116 | 128 | 2.57 | 3 | 3 | 2.57 | 13 | 9.8 | 11.1 | 13 | 0.94 | 1.01 | 1.1 | 74 | 81 | 61 | 74 | 53 | 70 | 50.2 | 53
SU-1 | Ni-Cu-Co ore |  | 4.5 | 5 | 4.7 | 5.012 | 4.7315 | 4.83 | 5.012 |  | 588 | 588 |  |  | 200 | 254 | 179.132 | 218 | 217.044 |  | <5 |  | 3.02 | 2.6 | 2.8 |  | 2.8588 | 2.6658 | 2.7 | 2.8588 |  | 1.5 | 2.8 | 2.1 |  | 27.4 | 24.3 | 25.8 |  | 630 | 638 | 713 | 630 | 500 | 340 | 410.5212 | 410 | 415.1303 |  | 1.26 | 1 | 1.13 | 8700 | 9170 | 8750 | 8700 |  | 2.56 | 2.94 | 2.74 |  | 1.46 | 1.76 |  | 0.77 | 0.76 | 22.9 | 22.8715 | 23 | 22.9 |  | 12.3 | 19 |  | 2.27 | 2.41 |  | 2 |  | 1.3 | 2 | 1.65 |  | 0.02 | 0.013 | 0.016 |  | 0.52 | 0.59 |  | 0.3 | 0.53129 | 0.47318 | 0.5 | 0.53129 |  | 14.7 | 11.7 | 13.2 |  | 10 |  | 0.25 | 0.19 | 2.4724 | 2.2373 | 2.3 | 2.4724 | 774.45 | 1006.7941 | 960 | 774.45 |  | 5 | 8 | 6.5 | 0.77153 | 0.76411 |  | 4 | 5 | 4.5 |  | 12.6 | 11.8 | 12.2 | 15100 | 14700 | >10000 | 15100 | 0.039278 | 0.043642 | 0.04 | 0.039278 |  | 286 | 442 | 364 |  |  | 3.22 | 2.98 |  | 24.9 | 26.6 | 25.8 | 12.1 | 12.05 | 12.1 |  | 0.58 | 1.6 | 1.09 |  | 18 | 18 |  | 21.1 | 21.1 | 16.2201 | 16.2201 | 16.2201 |  | 2.41 | 2.5 | 2.455 |  | 4 | 5 | 4.5 | 110 | 104 | 169.119 | 100 | 110 |  | 0.3 | <0.5 | 0.3 |  | 0.46 | 0.37 |  | 1.32 | 1.32 |  | 3.25 | 2.8 | 3.025 | 0.55296 | 0.44364 | 0.47 | 0.48886 |  | 0.5 | 0.9 |  | 0.26 | 0.24 |  | 1.02 | 0.94 | 0.98 | 300 | 181 | 236 | 239 |  | 4 | 1 | 2.5 |  | 14.2 | 17.6 | 15.9 |  | 1.54 | 1.7 | 300 | 295 | 262 | 300 | 140 | 89 | 83.2 | 140
SY-2 | syenite | 1.1? | <0.5 | 1 | 1.1 | 6.3722 | 6.2187 | 6.27 | 6.3722 | 17.3 | 18 | 17.3 | 0.00052? | 88 | 460 | 456 | 447.83 | 433 | 460 | 22 | 23 | 0.12 | 0.11 | 0.1 | 0.12 |  | 5.689 | 5.6318 | 5.7 | 5.689 | 0.208 | <0.5 | 1.1 | 0.208 | 175 | 174.5 | 173 | 175 | 140 | 8.6 | 6 | 8.8 | 8.6 | 9.5 | 10 |  | 10 | 9.5 | 2.4 | 2.7 | 2.4 | 2.4 | 5.2 | 2 | <5 | 5.2 | 18 | 21.1 | 21.7 | 18 | 12.4 | 15.4 | 16.9 | 2.42 | 2.68 | 2.66 | 4.4134 | 4.3085 | 4.17 | 4.4134 | 29 | 28.8 | 41 | 17 | 17 | 17 | 1.3? | 3 | 7.7 | 8.8 | 10 | 7.7 | 0.008? | 0.075 | 0.076 | 0.08 | 3.8 | 4.69 | 5.14 |  | <0.2 | 3.6942 | 3.6111 | 4 | 3.6942 | 75 | 77.3 | 74.4 | 75 | 95 | 100 | 2.7 | 3.09 | 3 | 1.6222 | 1.5498 | 1.51 | 1.6222 | 2478.24 | 2400.8167 | 2340 | 2478.24 | 1.8? | <1 | 4 | 1.8 | 3.1974 | 3.19 | 29 | 32.3 | 34 | 29 | 73 | 82 | 81.5 | 78.8333 | 9.9 | 8 | 13 | 9.9 | 0.18766 | 0.19639 | 0.21 | 0.18766 | 85 | 91 | 65 | 85 | 0.015 | 18.8 | 21.5 | 21.8 | 217 | 233 | 252 | 217 | 0.016 | 0.01 | 0.016 | 0.32 | 0.6 | 1.3 | 0.32 | 7 | 6 | 7 | 0.006 | 2.6 | 0.006 | 28.0978 | 27.8126 | 28.0978 | 16.1 | 16.55 | 17.5 | 16.1 | 5.7? | 6 | 6 | 5.7 | 271 | 285 | 338.238 | 267 | 271 | 2.01 | 2 | 1.9 | 2.01 | 2.5 | 3.07 | 3.23 | <0.001 | 0.02 | 0.001 | 379 | 459 | 432 | 379 | 0.099932 | 0.083931 | 0.1 | 0.099932 | 1.5 | 0.7 | 1.8 | 2.1 | 2.59 | 2.72 | 284 | 299 | 303 | 284 | 50 | 51 | 55 | 50 | 0.76? | 1 | 2 | 0.76 | 128 | 133 | 141 | 128 | 17? | 18.65 | 19.4 | 248 | 248 | 228 | 248 | 280 | 311 | 357 | 280
SY-3 | syenite | 1.5? | <0.5 | 2 | 1.5 | 6.224 | 6.007 | 5.83 | 6.224 | 18.8 | 21 | 18.8 | 0.00045? | 107 | 450 | 452 | 447.83 | 410 | 439.9575 | 20 | 23 | 0.29 | 0.27 | 0.2 | 0.29 |  | 5.8963 | 5.8963 | 5.8 | 5.8963 | 0.203 | <0.5 | 0.9 | 0.6 | 2230 | 2320 | 2050 | 2230 | 150 | 8.8 | 7 | 9.2 | 8.8 | 11? | <10 |  | <10 | 11 | 2.5 | 2.81 | 2.7 | 2.5 | 17 | 15 | 18 | 17 | 118 | 127.5 | 117 | 118 | 68 | 81.4 | 78.1 | 17 | 18.25 | 15.9 | 4.5393 | 4.5043 | 4.21 | 4.5393 | 27 | 35.5 | 43 | 105 | 112 | 100 | 1.4 | 4 | 9.7 | 10.3 | 10 | 9.7 | 0.016? | 0.027 | 0.005 | 0.016 | 29.5 | 26.7 | 25.7 |  | <0.2 | 3.5115 | 3.4202 | 3.6 | 3.5115 | 1340 | 1375 | 1180 | 1340 | 92 | 90 | 7.9 | 8.39 | 7.61 | 1.6101 | 1.5438 | 1.48 | 1.6101 | 2478.24 | 2555.7081 | 2370 | 2478.24 | 1? | <1 | 2 | 1 | 3.0565 | 3.0416 | 148 | 239 | 170 | 148 | 670 | 730 | 657 | 685.6667 | 11 | 5 | 12 | 11 | 0.23567 | 0.2444 | 0.25 | 0.23567 | 133 | 140 | 105 | 133 | 0.008 | 223 | 227 | 206 | 206 | 219 | 214 | 206 | 0.051 | 0.06 | 0.051 | 0.4 | 0.25 | 0.6 | 0.4 | 6.8 | 5 | 6.8 | 0.015 | 16.4 | 0.015 | 27.8968 | 27.7659 | 27.8968 | 109 | 118.5 | 109 | 112.1667 | 6.5? | 7 | 8 | 6.5 | 302 | 324 | 338.238 | 290 | 302 | 30 | 28.3 | 23.5 | 30 | 18 | 19.15 | 18.3 | 0.006? | 0.04 | 0.006 | 1003 | >1000 | 901 | 1003 | 0.099932 | 0.089926 | 0.09 | 0.099932 | 1.5 | 0.7 | 1.6 | 11.6 | 11.55 | 11.2 | 650 | 700 | 625 | 650 | 50 | 52 | 50 | 50 | 1.1 | 2 | 2 | 1.1 | 718 | 694 | 651 | 718 | 62? | 65.9 | 62 | 244 | 234 | 225 | 244 | 320 | 369 | 362 | 320
TILL-2 | till |  | <0.5 | 1 | 0.25 | 8.468 | 8.0975 | 8.21 | 8.468 | 26 | 25 | 26 | 0.002 |  | 540 | 537 | 537.396 | 509 | 540 | 4 | <5 |  | 4.93 | 4.8 | 4.86 | 12.2 | 0.90767 | 0.90052 | 0.9 | 0.90767 |  | <0.5 | 1 | 0.6 | 98 | 104.5 | 99.7 | 98 |  | 15 | 13 | 15.8 | 15 | 74 | 70 | 68.4202 | 70 | 74 | 12 | 12.05 | 10.8 | 12 | 150 | 148 | 163 | 150 |  | 6.96 | 7.29 | 7.12 | 3.7 | 3.84 | 4.37 | 1 | 1.35 | 1.23 | 3.84 | 3.7839 | 3.72 | 3.84 | 19.1 | 19.9 | 27 |  | 7.19 | 6.55 |  | 3 | 11 | 9.8 | 11 | 11 |  | 0.078 | 0.07 | 0.074 |  | 1.35 | 1.47 |  | <0.2 | 2.5486 | 2.3991 | 2.7 | 2.5486 | 44 | 47.9 | 44.4 | 44 | 47 | 50 | 0.6 | 0.59 | 0.56 | 1.1036 | 1.0613 | 1.05 | 1.1036 | 774.45 | 774.457 | 770 | 774.45 | 14 | 12 | 18 | 14 | 1.6247 | 1.6692 | 20 | 19.6 | 21 | 20 | 36 | 41.8 | 40.9 | 36 | 32 | 30 | 39 | 32 | 0.074192 | 0.074192 | 0.08 | 0.074192 | 31 | 28 | 35 | 31 |  |  | 11.25 | 11.2 | 143 | 154.5 | 159 | 143 |  | 0.04 | 0.04 | 0.8 | 0.43 | 1.2 | 0.8 | 12 | 12 | 12 |  | 0.7 | 0.7 | 28.4203 | 28.1866 | 28.4203 | 7.4 | 8.01 | 7.6 | 7.4 |  | 6 | 5 | 5.5 | 144 | 159.5 | 169.119 | 152 | 144 | 1.9 | 1.8 | 1.7 | 1.9 | 1.2 | 1.16 | 1.12 |  | 0.06 | 0.06 | 18.4 | 19.4 | 19.3 | 18.4 | 0.53 | 0.52157 | 0.53 | 0.53 |  | 0.5 | 1.2 |  | 0.56 | 0.63 | 5.7 | 5.39 | 6.33 | 5.7 | 77 | 84 | 81 | 77 | 5 | 6 | 6 | 5 | 40 | 38.2 | 41.2 | 40 | 3.7 | 3.87 | 4.1 | 130 | 120 | 111 | 130 | 390 | 373 | 415 | 390
UM-4 | ultramafic rock |  | <0.5 | <1 | 0.25 | 4.75 | 4.4669 | 4.5 | 4.75 |  | <5 | 2.5 |  |  |  | 15.5 | <50 | 11.5 | 13.5 |  | <5 |  | 0.27 | 0.4 | 0.33 |  | 4.48 | 4.3382 | 4.3 | 4.48 |  | <0.5 | 1 | 0.6 |  | 2.5 | 3.6 | 3.1 |  | 70 | 98 | 135 | 70 | 17700 | >10000 | 16762.949 | 16400 | 17700 |  | 0.28 | 0.2 | 0.24 | 540 | 585 | 611 | 540 |  | 0.97 | 1.08 | 1.03 |  | 0.64 | 0.67 |  | 0.18 | 0.17 |  | 9.6522 | 9.52 | 9.58 |  | 11.9 | 16 |  | 0.8 | 0.91 |  | 3 |  | 0.9 | <1 | 0.9 |  | 0.064 | 0.06 | 0.062 |  | 0.21 | 0.24 |  | <0.2 | 0.149 | 0.11622 | 0.1 | 0.149 |  | 1.4 | 1.6 | 1.5 |  | <10 |  | 0.09 | <0.05 | 13.57 | 13.9301 | 13.5 | 13.57 | 1162 | 1161.6855 | 1110 | 1162 |  | 1 | 5 | 3 | 0.33 | 0.33384 |  | 0.8 | 1 | 0.9 |  | 1.9 | 2.2 | 2.05 | 2500 | 2160 | 2250 | 2500 | 0.009 | 0.0043642 | <0.01 | 0.009 |  | 22 | 22 | 22 |  |  | 0.38 | 0.48 |  | 3.8 | 3.9 | 3.85 | 0.44 | 0.48 | 0.44 |  | 0.24 | 1 | 0.62 |  | 17 | 17 |  | 1.7 | 1.7 | 18.39 | 18.1366 | 18.39 |  | 0.62 | 0.7 | 0.66 |  | 2 | <1 | 1 |  | 17 | <50 | 14.3 | 15.6 |  | 0.1 | <0.5 | 0.1 |  | 0.14 | 0.06 |  | 0.32 | 0.32 |  | 0.24 | 0.9 | 0.57 | 0.233 | 0.19184 | 0.19 | 0.233 |  | <0.5 | 0.5 |  | 0.08 | 0.1 |  | 0.12 | 0.55 | 0.335 |  | <5 | 213 | 105 |  | 1 | 1 | 1 |  | 5.5 | 6.4 | 6 |  | 0.62 | 0.6 |  | 160 | 209 | 185 |  | 36 | 17.4 | 26.7
VSP09 | potash |  | <0.5 | <1 | 0.25 |  | 0.4234 | 0.4 | 0.41 |  | <5 | 2.5 |  |  |  | 16 | <50 | 25 | 20.5 |  | <5 |  | 0.01 | 0.5 | 0.25 |  |  | 0.86479 | 0.9 | 0.88 |  | <0.5 | 0.8 | 0.5 |  | 3.9 | 7.8 | 5.9 |  |  | 1 | 1.2 | 1.1 |  | 10 |  | 10 | 10 |  | 0.1 | 0.1 | 0.1 |  | 3 | 10 | 6.5 |  | 2.79 | 0.43 | 1.61 |  | 0.98 | 0.22 |  | 0.14 | 0.21 |  | 0.16786 | 0.24 | 0.2 |  | 1 | 2 |  | 1 | 0.47 |  | <1 |  | 0.3 | <1 | 0.3 |  | 0.021 | <0.005 | 0.01 |  | 0.46 | 0.24 |  | <0.2 |  | 13.2408 | 16.4 | 14.84 |  | 2.6 | 4.7 | 3.65 |  | <10 |  | 0.06 | <0.05 |  | 0.63319 | 0.65 | 0.64 |  | <50 | 30 | 30 |  | <1 | 3 | 2 |  | 22.4041 |  | 0.7 | <1 | 0.7 |  | 1.8 | 3.2 | 2.5 |  | 4 | 7 | 5.5 |  | 0.026185 | <0.01 | 0.015 |  | <2 | <5 | 1 |  |  | 0.46 | 0.89 |  | 14.7 | 25.3 | 20 |  | <0.01 | 0.005 |  | <0.05 | 0.5 | 0.1 |  | <5 | 2.5 |  | <0.2 | 0.1 |  | 1.2247 | 1.2247 |  | 0.35 | 1 | 0.675 |  | 3 | 5 | 4 |  | 33.9 | <50 | 30.6 | 32.2 |  | 0.1 | <0.5 | 0.1 |  | 0.42 | 0.11 |  | 0.01 | 0.01 |  | 0.72 | 1.3 | 1.01 |  | 0.02398 | 0.03 | 0.027 |  | <0.5 | <0.5 |  | 0.09 | 0.07 |  | 0.15 | 0.36 | 0.255 |  | 9 | 7 | 8 |  | <1 | 2 | 1.3 |  | 15.4 | 2 | 8.7 |  | 0.45 | 0.3 |  | 4 | 49 | 26 |  | 13 | 8.8 | 10.9
WMG-1 | gabbro | 2.7 | 2.7 | 4 | 2.7 | 4.4034 | 4.2816 | 4.48 | 4.4034 | 7 | 8 | 7 | 0.11 |  | 114 | 104 | 89.566 | 98.7 | 114 | 0.6 | <5 | 0.2-30 | 0.24 | 0.2 | 0.22 |  | 10.7205 | 10.649 | 11.2 | 10.7205 | 1.1 | <0.5 | 1.7 | 1.1 | 16 | 16.3 | 16.5 | 16 | 100-200 | 200 | 175 | 217 | 200 | 770 | 820 | 752.6222 | 760 | 770 | 0.48 | 0.37 | 0.3 | 0.48 | 5900 | 6240 | 6300 | 5900 | 2.8 | 2.45 | 2.48 | 2.8 | 1.0-1.7 | 1.45 | 1.39 | 0.8 | 0.76 | 0.77 | 12.2541 | 11.5756 | 12 | 12.2541 | 10.3 | 10.5 | 14 | 1.8-3.1 | 2.54 | 2.35 | 0.1-4 | 2 | 1.3 | 1.5 | 2 | 1.3 |  | 0.137 | 0.133 | 0.135 | 0.5 | 0.5 | 0.5 |  | <0.2 | 0.074713 | 0.074713 | 0.1 | 0.074713 | 8.2 | 8.1 | 7.9 | 8.2 | 35 | 40 | 0.21 | 0.2 | 0.14 | 7.152 | 6.9048 | 6.97 | 7.152 | 1169.4195 | 1084.2398 | 1130 | 1169.4195 | 1.4 | <1 | 3 | 1.4 | 0.12908 | 0.1187 | 6 | 4.8 | 5 | 6 | 9 | 9.5 | 9.6 | 9.3667 | 2700 | 2530 | 2570 | 2700 | 0.056735 | 0.061099 | 0.07 | 0.056735 | 15 | 10 | 12 | 12 | 382 |  | 2.13 | 2.16 | 4 | 2.4 | 1.9 | 2.7667 | 3.7 | 3.63 | 3.7 | 1.8 | 0.99 | 2.3 | 1.8 | 26 | 24 | 26 | 15 | 13.7 | 15 | 18.83 | 18.1366 | 18.83 |  | 2.39 | 2.3 | 2.345 | 2.2 | 2 | <1 | 2.2 | 41 | 40.9 | 84.5595 | 35 | 41 | 0.5 | 0.3 | <0.5 | 0.5 | 0.4 | 0.42 | 0.32 | 1.3 | 1.1 | 1.3 | 1.1 | 1.33 | 1.4 | 1.2 | 0.45302 | 0.41366 | 0.42 | 0.42889 | 0.08-0.24 | <0.5 | <0.5 | 0.2 | 0.2 | 0.2 | 0.65 | 0.93 | 0.7 | 0.65 | 149 | 159 | 176 | 161.3333 | 1.3 | 1 | <1 | 1.3 | 12 | 14 | 14.4 | 12 | 1.3 | 1.26 | 1.3 | 110 | 94 | 85 | 110 | 43 | 54 | 60.3 | 43
Notes
Data in red for As, Bi, Sb, Se, Te from Hall and Pelchat 1997
For the certified data, italics indicate a 'provisional', not 'recommended', value and a question mark denotes an even lesser certainty, designated 'informational'
SV: selected value for the comparison with pXRF data
Note on A20: Gwendy Hall: Data in blue provided by Peter Friske, GSC
Note on K23: Gwendy Hall: PV=0.73
Note on P15: Gwendy Hall: LiBO2 fusion
Note on P32: Gwendy Hall: INAA
Note on P33: Gwendy Hall: 4 acid only
Note on P34: Gwendy Hall: INAA
Note on W13: Gwendy Hall: PV=0.045
Note on W20: Gwendy Hall: PV=0.55
Note on W36: Gwendy Hall: PV=0.37
Note on W40: Gwendy Hall: IV=2
Note on W41: Gwendy Hall: IV=0.8
Note on AU15: Gwendy Hall: =DL, not <DL
Note on CB15: Gwendy Hall: only 4 acid, not fusion
Note on EU23: Gwendy Hall: PV=0.86
Note on EU40: Gwendy Hall: PV=0.25
Note on EU41: Gwendy Hall: PV=0.31
Note on FB11: Gwendy Hall PV=0.059
Note on FB12: Gwendy Hall: PV=0.063
Note on FB13: Gwendy Hall: PV=0.086
Note on FB35: Gwendy Hall: IV=0.006
Note on FB38: Gwendy Hall: PV=3.5
Note on FB40: Gwendy Hall: IV=0.02
Note on FB41: Gwendy Hall: IV=0.03
Note on GB13: Gwendy Hall: PV=0.022
Note on GB14: Gwendy Hall: PV=0.023
Note on GB23: Gwendy Hall: IV=0.046
Note on GB38: Gwendy Hall: IV=0.248
Note on GB40: Gwendy Hall: IV=0.002
Note on GB41: Gwendy Hall: IV=0.006
Note on GS15: Gwendy Hall: 4-acid only
Note on GW15: Gwendy Hall: 4 acid only
Note on HP15: Gwendy Hall: LiBO2 fusion
Note on HP16: Gwendy Hall: LiBO2 fusion
Note on HP32: Gwendy Hall: INAA
Note on HP33: Gwendy Hall: only 4-acid
Note on HP34: Gwendy Hall: INAA