## Ag-Ca
| Ag | [8 empty] | As | [14 empty] | Au | [8 empty] | Ba | [11 empty] | Bi | [5 empty] | Br |  |  | Ca, %
| HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S
SAMPLE | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV
BHVO-1 | 8.1375 | 1.5952 |  | 0.375 | 0.51755 |  | 284.182 | 5.2414 | 1.8444 | 22.6 | 1.8379 | 8.1322 | [6 empty] | 3 | 2.8868 |  | 4.9029 | 1.1266 | [7 empty] | 9.3387 | 1.3791 |  |  |  |  | 406.183 | 14.8194 | 3.6484 | 13.1 | 1.2867 | 9.822 | 331.479 | 10.8731 | 3.2802 | [9 empty] | 12.7756 | 0.10184 | 0.79712 | 8.525 | 0.049272 | 0.57798 | 7.7097 | 0.099526 | 1.2909 | 11.8835 | 0.30155 | 2.5375 | 6.7286 | 0.04833 | 0.71827
GSR-6 | [6 empty] | 244.45 | 4.6187 | 1.8894 | 13.4 | 1.3499 | 10.0739 |  |  |  | 5.757 | 1.1153 | 19.3734 | 5.125 | 2.1671 |  | 7.1022 | 0.89809 |  | 5.2857 | 0.48795 | 9.2315 | [9 empty] | 317.277 | 14.2257 | 4.4837 | 7.8 | 1.1353 | 14.555 | 272.589 | 10.5145 | 3.8573 | [9 empty] | 52.9203 | 0.65036 | 1.2289 | 50.98 | 0.66966 | 1.3136 | 34.2885 | 0.47926 | 1.3977 | 57.3505 | 0.97661 | 1.7029 | 29.8313 | 0.11922 | 0.39963
LKSD-4 |  |  |  | 0.33333 | 0.57735 |  |  |  |  | 28.8 | 1.4757 | 5.1241 | 14.5 | 7.0277 | 48.4671 | 17.609 | 1.691 | 9.6033 | 30.4 | 6.67 | 21.9408 | 19.732 | 2.3114 | 11.7137 |  |  |  | 0.57143 | 0.53452 |  |  |  |  | 201.2 | 107.1995 |  |  |  |  | 285.1 | 10.3971 | 3.6468 | [6 empty] | 11.5 | 9.9582 |  | 203.4 | 52.743 | 25.9307 | 1.571 | 0.018804 | 1.1969 | 1.214 | 0.018974 | 1.5629 | 1.4733 | 0.016404 | 1.1134 | 1.5242 | 0.088643 | 5.8155 | 1.365 | 0.013106 | 0.96016
MRG-1 | 8.72 | 1.4975 | 17.173 | 0.25 | 0.5 |  | 298.097 | 8.3469 | 2.8001 | 28.9 | 1.5951 | 5.5195 | [6 empty] | 3.7778 | 2.3863 |  | 5.407 | 0.94483 | 17.4743 | [6 empty] | 10.5767 | 2.5743 |  |  |  |  | 342.119 | 30.2298 | 8.836 | 24.9 | 1.7288 | 6.9431 | 252.083 | 11.7144 | 4.6471 | [9 empty] | 19.2443 | 0.15698 | 0.81574 | 9.808 | 0.18017 | 1.837 | 10.5361 | 0.14083 | 1.3367 | 15.8765 | 0.32512 | 2.0478 | 9.3129 | 0.079904 | 0.85798
NIST-2709 |  |  |  | 0.33333 | 0.5164 |  | 121.227 | 4.71 | 3.8853 | 33.8 | 1.3166 | 3.8952 | 16.2 | 3.7653 | 23.2428 | 16.998 | 1.9889 | 11.7005 | 19.2 | 4.158 | 21.6562 | 18.081 | 1.0692 | 5.9133 |  |  |  | 0.5 | 0.70711 |  |  |  |  | 738.6 | 226.1721 | 30.6217 | 549.671 | 13.3621 | 2.4309 | 884.6 | 17.0307 | 1.9252 | 606.208 | 12.5091 | 2.0635 | [9 empty] | 2.2379 | 0.016078 | 0.71846 | 1.712 | 0.031198 | 1.8223 | 1.7768 | 0.016488 | 0.92793 | 2.149 | 0.084911 | 3.9513 | 1.6016 | 0.013082 | 0.81682
NIST-2710 | 33.556 | 1.2993 | 3.8722 | 35.8 | 1.1353 | 3.1712 | 184.611 | 4.419 | 2.3937 | 799.7 | 19.0091 | 2.377 | 615.1 | 24.4197 | 3.97 | 700.523 | 13.2589 | 1.8927 | 630.4 | 27.4639 | 4.3566 | 776.224 | 20.5365 | 2.6457 | 27.5 | 4.0893 | 14.8701 | 13.4 | 4.0607 |  |  |  |  | 740.6 | 174.3484 | 23.5415 | 548.014 | 15.3191 | 2.7954 | 643.1 | 13.2115 | 2.0544 | 546.407 | 14.0834 | 2.5774 | 68.5 | 6.1509 | 1.1137 | [6 empty] | 1.4645 | 0.020847 | 1.4235 | 1.314 | 0.043256 | 3.292 | 1.0033 | 0.0089704 | 0.89407 | 1.3568 | 0.052581 | 3.8754 | 0.95268 | 0.0080532 | 0.84533
NIST-2711 | 5.6867 | 0.79967 |  | 4.2 | 0.78881 | 18.7812 | 150.155 | 3.0611 | 2.0386 | 104.9 | 6.6072 | 6.2986 | 82.2 | 11.5162 | 14.0099 | 101.258 | 8.3617 | 8.2578 | 71.7 | 11.6814 | 16.2921 | 115.176 | 7.9723 | 6.9218 | 7.625 | 0.91613 |  | 4 | 1.633 | 40.8248 |  |  |  | 581.1 | 141.4955 | 24.3496 | 499.629 | 11.2138 | 2.2444 | 670.6 | 13.4098 | 1.9997 | 536.751 | 8.2691 | 1.5406 |  |  |  | 1.6 | 2.0656 |  |  |  |  | 3.4308 | 0.026386 | 0.76908 | 2.725 | 0.065192 | 2.3924 | 2.7567 | 0.017537 | 0.63614 | 3.2891 | 0.18715 | 5.6898 | 2.4269 | 0.010844 | 0.44684
SGR-1 | [6 empty] | 64.5311 | 3.5463 | 5.4954 | 84.1 | 1.5951 | 1.8967 | 54.7 | 3.199 | 5.8482 | 51.428 | 1.7767 | 3.4547 | 70.6 | 4.2479 | 6.0168 | 57.8444 | 1.7451 | 3.0168 | [9 empty] | 122.3 | 124.6426 |  |  |  |  | 2.2 | 0.78881 | 35.855 | [12 empty] | 8.4108 | 0.089743 | 1.067 | 6.546 | 0.12492 | 1.9083 | 8.1667 | 0.17939 | 2.1966 | 9.3742 | 0.20084 | 2.1425 | 6.9632 | 0.0333 | 0.47823
TILL-2 |  |  |  | 0.83333 | 0.75277 |  | 161.179 | 3.8787 | 2.4065 | 45.2 | 1.6193 | 3.5826 | 24.7 | 5.0783 | 20.5598 | 24.429 | 1.1606 | 4.7511 | 25.5 | 3.3082 | 12.9735 | 27.813 | 2.3053 | 8.2886 |  |  |  | 1.3333 | 1.0328 |  |  |  |  | 294.1 | 189.458 |  | 401.21 | 21.7103 | 5.4112 | 499.2 | 11.1235 | 2.2283 | 439.719 | 16.0725 | 3.6552 |  |  |  | 26 | 14.5602 |  |  |  |  | 0.93806 | 0.012162 | 1.2965 | 0.7574 | 0.028399 | 3.7495 | 0.69662 | 0.0058113 | 0.83421 | 0.88403 | 0.046831 | 5.2975 | 0.68028 | 0.0093015 | 1.3673
UM-4 | 7.3733 | 1.5234 |  | 0.4 | 0.54772 |  | 303.422 | 4.9912 | 1.645 | 20.7 | 0.94868 | 4.583 | [6 empty] | 2.75 | 1.669 |  | 6.9871 | 1.1061 | [7 empty] | 8.5956 | 0.79494 |  |  |  |  | 309.86 | 11.5224 | 3.7186 | 9 | 1.1547 | 12.83 | 242.455 | 8.9103 | 3.675 | [6 empty] | 37.5 | 23.3726 |  | 6.9802 | 0.053191 | 0.76203 | 4.421 | 0.071872 | 1.6257 | 4.4018 | 0.04952 | 1.125 | 6.1709 | 0.094707 | 1.5347 | 3.856 | 0.024881 | 0.64526
Mean RSD |  |  | 10.5226 |  |  | 10.9762 |  |  | 2.7109 |  |  | 5.1483 |  |  | 19.3496 |  |  | 8.4334 |  |  | 13.8727 |  |  | 7.9963 |  |  | 12.0508 |  |  | 40.8248 | [5 empty] | 26.1709 |  |  | 4.1961 |  |  | 9.186 |  |  | 3.162 |  |  | 1.1137 | [5 empty] | 25.9307 |  |  | 1.0075 |  |  | 2.0082 |  |  | 1.1753 |  |  | 3.4595 |  |  | 0.75358
Mean of means |  |  | 8.0699 | [8 empty] | 10.9601 | [14 empty] | 26.4378 | [8 empty] | 10.6788 | [20 empty] | 1.6808
SD of mean of means |  |  | 4.6466 | [8 empty] | 5.6527 | [14 empty] | 20.3463 | [8 empty] | 10.6577 | [20 empty] | 1.0999
Elements in ppm unless otherwise noted
Note on A11: Angelina Buchar: n=9

## Cd-Cu
Ca | [5 empty] | Ca (%) |  |  |  | Cd | [14 empty] | Ce |  |  | Cl |  |  | Co | [14 empty] | Cr | [14 empty] | Cs | [5 empty] | Cu
HH-A-S |  |  | Ca |  |  | BT-B-S |  |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | BT-A-S |  |  | BT-A-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-C-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S
Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | SAMPLE | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV
127756.4 | 1018.367 | 0.79712 | 118835 | 3015.4739 | 2.5375 | 6.7286 | 0.04833 | 0.71827 | BHVO-1 |  |  |  | 3.7 | 5.9451 | [10 empty] | 102.3333 | 78.2134 | 76.43 |  |  |  | 49.5 | 1.9003 | 3.839 | 81.5 | 2.1213 | 2.6028 | 206.2729 | 34.0752 |  | 32.6 | 2.4585 | 7.5415 | 233.996 | 60.0924 | 25.6809 | 259 | 6.2539 | 2.4146 | 227.2 | 18.8255 | 8.2859 | 116.885 | 7.383 | 6.3165 | 255.1 | 12.5826 | 4.9324 | 162.353 | 4.9877 | 3.0721 | 92.662 | 6.7364 | 7.2699 | 79.038 | 4.5462 | 5.752 | 152 | 4.0277 | 2.6498 | 135.2 | 7.642 | 5.6524 | 146.445 | 7.253 | 4.9527 | 124.7 | 1.4181 | 1.1372 | 158.786 | 4.3881 | 2.7635
529203.2 | 6503.5556 | 1.2289 | 573504.8 | 9766.0662 | 1.7029 | 29.8313 | 0.11922 | 0.39963 | GSR-6 |  |  |  | 11.5 | 11.2867 |  |  |  |  | 0.33333 | 0.5164 |  |  |  |  | 39 | 32.5346 |  | 208 |  |  | 8.1 | 0.73786 | 9.1094 |  |  |  | 71.546 | 19.2483 |  | 4.7 | 0.48305 | 10.2776 | 62.5078 | 13.5068 |  | 29.2 | 3.1198 | 10.6843 | [6 empty] | 27.5 | 2.5495 | 9.2709 |  |  |  | 66.856 | 6.7569 | 10.1067 | 58.733 | 5.6283 | 9.5828 | 25.6 | 2.675 | 10.4492 | 19 | 4.4969 | 23.668 | 36.582 | 5.6645 | 15.4845 | 19.8 | 1.4757 | 7.4532 | 34.899 | 4.1047 | 11.7616
15710 | 188.0372 | 1.1969 | 15242.4 | 886.4263 | 5.8155 | 1.365 | 0.013106 | 0.96016 | LKSD-4 |  |  |  | 33 | 12.8062 | 38.8068 |  |  |  | 1.3333 | 0.70711 | 53.033 |  |  |  | 161.4 | 69.9289 | 43.3264 |  |  |  | 18.1 | 0.99443 | 5.4941 | 10.5 | 0.84984 | 8.0937 |  |  |  | 11.5 | 0.52705 | 4.583 | 88.37 | 13.9306 |  | 63.8 | 4.2635 | 6.6827 | 38.7 | 28.312 |  |  |  |  | 47.9 | 3.9001 | 8.1423 | 24.662 | 3.7622 | 15.2552 | [6 empty] | 26.5 | 1.9003 | 7.1709 | 27.9 | 3.3813 | 12.1194 | 30.429 | 2.8702 | 9.4325 | 29.3 | 1.1595 | 3.9573 | 25.539 | 2.6293 | 10.2954
192442.6 | 1569.8263 | 0.81574 | 158765.4 | 3251.1665 | 2.0478 | 9.3129 | 0.079904 | 0.85798 | MRG-1 | [9 empty] | 0.8 | 0.44721 |  |  |  |  | 85.4 | 64.6282 |  |  |  |  | 77.8 | 3.0478 | 3.9174 | 151.6 | 4.8351 | 3.1894 | 319.912 | 75.7468 |  | 47.6 | 4.9035 | 10.3015 | 314.681 | 99.6993 | 31.6827 | 443.1 | 14.3097 | 3.2294 | 401.6 | 29.96 | 7.4602 | 226.241 | 9.3982 | 4.154 | 413.7 | 14.7124 | 3.5563 | 263.725 | 10.0658 | 3.8168 | 95.211 | 6.614 | 6.9466 | 79.869 | 6.7924 | 8.5044 | 148.5 | 4.6726 | 3.1465 | 134.3 | 8.499 | 6.3284 | 143.835 | 5.9544 | 4.1397 | 121 | 3.0185 | 2.4946 | 151.508 | 3.7946 | 2.5046
22378.9 | 160.7824 | 0.71846 | 21489.6 | 849.1081 | 3.9513 | 1.6016 | 0.013082 | 0.81682 | NIST-2709 |  |  |  | 13.2 | 14.4898 |  |  |  |  | 0.66667 | 0.5164 |  |  |  |  | 133.1429 | 47.1042 |  |  |  |  | 20.2 | 1.0328 | 5.1128 | 12.5 | 1.0801 | 8.641 | 87.18 | 9.6399 |  | 14 | 0.66667 | 4.7619 | 81.575 | 18.2261 |  | 149.1 | 4.1218 | 2.7644 | 85.7 | 38.4073 |  | 73.4 | 7.4902 | 10.2046 | 141.6 | 7.5748 | 5.3494 | 113.895 | 4.7212 | 4.1452 | [6 empty] | 36 | 1.7638 | 4.8995 | 26.1 | 3.3483 | 12.8287 | 38.953 | 4.0866 | 10.4912 | 33 | 1.9437 | 5.8899 | 36.083 | 2.697 | 7.4745
14645.3 | 208.4706 | 1.4235 | 13567.9 | 525.8146 | 3.8754 | 0.95268 | 0.0080532 | 0.84533 | NIST-2710 | 25.5 | 3.4075 | 13.3628 | 17.2 | 11.8958 |  | 24.111 | 2.97 | 12.3179 | 21.4 | 1.075 | 5.0232 | 21.017 | 1.9942 | 9.4887 | 112.5 | 75.8597 |  | 428.3 | 79.0739 | 18.4623 | 8.3 | 1.2517 | 15.0803 | 9.9 | 1.3703 | 13.8416 |  |  |  | 5.6 | 0.69921 | 12.4858 |  |  |  | 78 | 3.4641 | 4.4412 | 62.2 | 55.2405 |  |  |  |  | 51.8 | 3.9384 | 7.6031 | 68.021 | 5.4623 | 8.0303 | 49.666 | 6.8944 | 13.8816 | 53.619 | 5.8156 | 10.8461 | 3499.1 | 18.0028 | 0.5145 | 3052 | 71.7712 | 2.3516 | 3065.471 | 19.4703 | 0.63515 | 2983.7 | 14.5071 | 0.48621 | 3070.813 | 20.1053 | 0.65472
34308.5 | 263.8587 | 0.76908 | 32891.5 | 1871.476 | 5.6898 | 2.4269 | 0.010844 | 0.44684 | NIST-2711 | 56.6 | 5.5418 | 9.7911 | 56.4 | 17.6774 | 31.3428 | 39.417 | 2.5007 | 6.3443 | 41.9 | 1.1005 | 2.6265 | 38.206 | 0.86689 | 2.269 | 103 | 54.6016 |  |  |  |  | 15.9 | 0.99443 | 6.2543 | 5 | 1.4907 | 29.8142 |  |  |  | 10.6 | 0.96609 | 9.1141 | 80.3344 | 10.792 |  | 75.7 | 5.7164 | 7.5515 | [6 empty] | 64.1 | 6.6908 | 10.438 | 45.449 | 4.4319 | 9.7513 | [6 empty] | 115.2 | 3.3928 | 2.9451 | 85.7 | 5.8888 | 6.8714 | 115.588 | 7.4675 | 6.4604 | 101 | 3.8586 | 3.8204 | 112.372 | 4.5195 | 4.0219
84107.6 | 897.4312 | 1.067 | 93741.6 | 2008.3674 | 2.1425 | 6.9632 | 0.0333 | 0.47823 | SGR-1 |  |  |  | 25.2 | 14.2033 | 56.3622 |  |  |  | 0.75 | 0.70711 |  |  |  |  | 70.625 | 42.6512 |  |  |  |  | 11.5 | 0.52705 | 4.583 |  |  |  | 64.9486 | 8.8803 |  | 6.5 | 0.97183 | 14.9512 | 53.208 | 5.7071 |  | 42.8 | 4.4422 | 10.379 | [6 empty] | 43.9 | 3.9567 | 9.013 | [9 empty] | 57.3 | 2.2632 | 3.9498 | 53.5 | 5.6421 | 10.546 | 58.934 | 4.1591 | 7.0572 | 54.4 | 2.5473 | 4.6826 | 54.1333 | 3.2724 | 6.0451
9380.6 | 121.6207 | 1.2965 | 8840.3 | 468.315 | 5.2975 | 0.68028 | 0.0093015 | 1.3673 | TILL-2 |  |  |  | 18.5 | 15.2334 |  |  |  |  | 0.75 | 0.5 |  |  |  |  | 90.6 | 45.0585 | 49.7334 |  |  |  | 21.9 | 0.73786 | 3.3692 | 16.6 | 1.8379 | 11.0715 |  |  |  | 13.4 | 1.2649 | 9.4396 | 87.2429 | 14.1074 |  | 97.1 | 7.2334 | 7.4494 | 46.5 | 36.4211 |  | 19.0443 | 2.4043 |  | 84.4 | 8.3026 | 9.8372 | 62.738 | 2.7502 | 4.3836 | 18.3867 | 3.7698 |  | 13.82 | 3.0965 |  | 159.7 | 2.5841 | 1.6181 | 140.8 | 7.2694 | 5.1629 | 153.235 | 5.4387 | 3.5492 | 141.3 | 3.8312 | 2.7114 | 151.303 | 4.3589 | 2.8809
69801.5 | 531.9096 | 0.76203 | 61708.6 | 947.068 | 1.5347 | 3.856 | 0.024881 | 0.64526 | UM-4 |  |  |  | 7.6 | 9.021 |  | 11.7033 | 2.9912 |  | 0.5 | 0.70711 |  |  |  |  | 17.5 | 6.364 |  |  |  |  | 67.5 | 2.3688 | 3.5093 | 105.6 | 3.7178 | 3.5207 | 391.624 | 55.6154 | 14.2012 | 44.6 | 2.675 | 5.9977 | 365.748 | 65.2427 | 17.8382 | 17595.7 | 126.0097 | 0.71614 | 17210 | 260.1282 | 1.5115 | 14027.452 | 166.0798 | 1.184 | 18319.2 | 325.3264 | 1.7759 | 11516.262 | 137.5897 | 1.1947 | 95.242 | 4.8231 | 5.0641 | 92.877 | 4.5922 | 4.9444 | 583.2 | 8.6641 | 1.4856 | 523.1 | 18.9118 | 3.6153 | 497.405 | 14.0571 | 2.8261 | 482.3 | 4.1647 | 0.8635 | 517.19 | 13.7188 | 2.6526
[9 empty] | Mean RSD |  |  | 11.5769 |  |  | 42.1706 |  |  | 9.3311 |  |  | 20.2276 |  |  | 5.8788 |  |  | 56.4966 |  |  | 18.4623 |  |  | 6.0269 |  |  | 10.0969 |  |  | 14.2012 |  |  | 8.9454 |  |  | 25.0672 |  |  | 5.6313 |  |  | 5.7525 |  |  | 5.4648 |  |  | 6.9919 |  |  | 6.2061 |  |  | 8.6538 |  |  | 7.9259 |  |  | 3.8829 |  |  | 8.9144 |  |  | 6.5029 |  |  | 3.3496 |  |  | 5.1055
[9 empty] | Mean of means |  |  | 17.837 | [20 empty] | 12.8675 | [14 empty] | 6.0093 | [14 empty] | 8.2899 | [5 empty] | 5.5511
[9 empty] | SD of mean of means |  |  | 14.5977 | [20 empty] | 7.424 | [14 empty] | 0.61432 | [14 empty] | 0.51465 | [5 empty] | 2.2386
Note on J11: Angelina Buchar: n=9
Note on AX6: owner: Italics indicate not all 10 values were >0, 5-9 values were reported

## Fe-Ni
| Fe, % | [14 empty] | Hg | [14 empty] | K, % | [11 empty] | La |  |  | Mn | [14 empty] | Mo | [14 empty] | Nb | [8 empty] | Nd |  |  | Ni
| HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | BT-A-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | BT-A-S |  |  | BT-A-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S
SAMPLE | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV
BHVO-1 | 13.6181 | 0.046929 | 0.3446 | 8.874 | 0.11683 | 1.3165 | 8.2123 | 0.026263 | 0.3198 | 8.9413 | 0.048339 | 0.54062 | 8.1739 | 0.040818 | 0.49937 | 13.1 | 1.5239 | 11.6327 | 30.2 | 17.9864 | [10 empty] | 0.69933 | 0.01399 | 2.0005 | 0.42755 | 0.010656 | 2.4922 | 0.59944 | 0.014783 | 2.4661 | 0.42789 | 0.0051281 | 1.1985 | 38.7 | 24 |  | 1400.5 | 12.403 | 0.88561 | 1265 | 28.3823 | 2.2437 | 1068.13 | 27.4851 | 2.5732 | 1311.8 | 41.0062 | 3.126 | 1481.845 | 14.4558 | 0.97553 | [6 empty] | 3.598 | 0.72696 |  | 2.2 | 0.78881 | 35.855 | 4.3122 | 0.77354 |  | 24 | 0.66667 | 2.7778 | 10.7 | 7.7 |  | 16.2 | 0.91894 | 5.6724 | 236.6667 | 197.9402 |  | 54.6 | 9.9688 | 18.2579 | 91.9 | 8.7743 | 9.5477 | 148.616 | 15.8151 | 10.6416 | 22.9 | 9.3625 | 40.8841 | 132.549 | 5.2638 | 3.9712
GSR-6 | 1.9502 | 0.0082531 | 0.42319 | 1.974 | 0.03893 | 1.9721 | 1.2155 | 0.0098169 | 0.80764 | 1.3131 | 0.0058968 | 0.44908 | 1.2404 | 0.0071268 | 0.57455 | 10.9 | 1.9692 |  | 27 | 28.5735 | [7 empty] | 8.9829 | 1.1064 |  | 1.4917 | 0.0228 | 1.5284 | 0.95677 | 0.023245 | 2.4295 | 1.502 | 0.030822 | 2.0521 | 0.95764 | 0.0079882 | 0.83415 |  |  |  | 408 | 8.2597 | 2.0244 | 775.9 | 61.8447 | 7.9707 | 390.563 | 26.284 | 6.7298 | 434.1 | 9.3387 | 2.1513 | 457.15 | 15.2613 | 3.3384 | [9 empty] | 0.66667 | 0.8165 |  |  |  |  | 8 | 0.66667 | 8.3333 |  |  |  | 4.9 | 0.73786 | 15.0585 | 228.5 | 2.1213 |  | 32.7778 | 8.4673 |  |  |  |  | 51.072 | 8.0845 | 15.8296 | 22.9 | 4.1218 | 17.9989 | 47.849 | 6.1362 | 12.8242
LKSD-4 | 4.2707 | 0.0092675 | 0.217 | 3.067 | 0.052926 | 1.7256 | 2.6946 | 0.022475 | 0.83408 | 3.1131 | 0.01374 | 0.44136 | 2.5967 | 0.01774 | 0.68317 |  |  |  | 29.9 | 35.501 |  |  |  |  | 1.5 | 0.52705 | 35.1364 |  |  |  | 0.82906 | 0.01078 | 1.3003 | 0.81443 | 0.0097965 | 1.2029 | 0.74833 | 0.042665 | 5.7014 | 0.76238 | 0.0074062 | 0.97145 |  |  |  | 653.6 | 8.2084 | 1.2559 | 541.1 | 17.349 | 3.2063 | 261.257 | 21.4767 | 8.2205 | 623 | 35.6651 | 5.7247 | 389.979 | 20.229 | 5.1872 | [6 empty] | 3.692 | 0.68944 | 18.6739 | 5.8 | 1.1353 | 19.574 | 4.89 | 0.66087 | 13.5148 | 6.8 | 0.63246 | 9.3008 |  |  |  | 8.1 | 0.56765 | 7.008 | 408.4444 | 340.3682 |  |  |  |  | 16.4 | 6.467 |  |  |  |  | 5 | 1.8708
MRG-1 | 22.772 | 0.094727 | 0.41598 | 13.9 | 0.3496 | 2.5151 | 13.6746 | 0.048578 | 0.35524 | 14.8335 | 0.061265 | 0.41301 | 13.681 | 0.086717 | 0.63385 | 19.4 | 3.534 | 18.2163 | 27.8 | 16.4506 | [7 empty] | 10.0067 | 1.6696 |  | 0.28485 | 0.011366 | 3.99 | 0.1547 | 0.010014 | 6.473 | 0.21293 | 0.0099526 | 4.6741 | 0.16937 | 0.0059054 | 3.4867 | 83.6 | 29.7 |  | 1438.1 | 25.9763 | 1.8063 | 1314 | 48.3506 | 3.6796 | 1043.832 | 66.6419 | 6.3844 | 1174.3 | 27.2154 | 2.3176 | 1709.499 | 27.6983 | 1.6203 | [6 empty] | 3.8583 | 0.46619 |  | 1.7 | 0.94868 | 55.8049 | 5.131 | 0.74392 | 14.4984 | 26.5 | 1.5092 | 5.6952 | 8.9 | 9.5969 |  | 17.7 | 1.1595 | 6.5509 | 227 | 50.9117 |  | 74.7 | 12.8932 | 17.2599 | 185.4 | 11.0574 | 5.9641 | 210.246 | 26.2531 | 12.4868 | 37 | 19.754 | 53.3893 | 196.025 | 12.49 | 6.3716
NIST-2709 | 4.6855 | 0.022529 | 0.48081 | 3.363 | 0.086545 | 2.5734 | 2.8506 | 0.019531 | 0.68516 | 3.2173 | 0.0079243 | 0.24631 | 2.7925 | 0.012932 | 0.46309 | 8.2222 | 1.3017 | 15.8316 | 59.1 | 31.7856 |  |  |  |  | 4.2 | 0.78881 | 18.7812 |  |  |  | 2.4473 | 0.02175 | 0.88876 | 2.0167 | 0.021201 | 1.0512 | 2.2195 | 0.092052 | 4.1475 | 1.9105 | 0.016433 | 0.86014 | 55.3 | 25.2 |  | 621.9 | 9.6776 | 1.5561 | 492.6 | 18.875 | 3.8317 | 359.974 | 18.9068 | 5.2523 | 601.7 | 25.3686 | 4.2162 | 499.086 | 12.4413 | 2.4928 | 3.6667 | 0.57735 |  |  |  |  | 2.896 | 0.37574 |  | 3.4 | 0.96609 | 28.4145 | 4.494 | 0.7878 | 17.53 | 12 | 0.66667 | 5.5556 |  |  |  | 10.3 | 0.48305 | 4.6898 | 591.5 | 262.8871 | 44.4441 | 51.1 | 7.6077 | 14.888 | 53.5 | 6.9642 | 13.0172 | 73.034 | 8.8872 | 12.1686 | 48.5 | 2.9533 | 6.0894 | 71.391 | 3.7742 | 5.2866
NIST-2710 | 5.7805 | 0.017157 | 0.2968 | 3.15 | 0.069602 | 2.2096 | 3.5615 | 0.015026 | 0.42189 | 3.9736 | 0.013067 | 0.32886 | 3.5196 | 0.021216 | 0.60279 | 51.4 | 4.7188 | 9.1805 | 335.2 | 131.3382 | 39.1821 | 49.222 | 4.5366 | 9.2166 | 35 | 4.9889 | 14.2539 | 16.544 | 1.5845 |  | 2.8855 | 0.025387 | 0.87982 | 2.1135 | 0.018207 | 0.86147 | 2.4926 | 0.10185 | 4.086 | 2.0411 | 0.013677 | 0.67009 | 49.4 | 33.3 |  | 11924.9 | 86.8747 | 0.72852 | 9417 | 179.1988 | 1.9029 | 11334.482 | 122.2009 | 1.0781 | 11437.6 | 457.7331 | 4.002 | 10499.358 | 97.2433 | 0.92618 | 27.9 | 1.4491 | 5.194 |  |  |  | 18.961 | 0.63562 | 3.3522 | 20 | 1.0541 | 5.2705 | 21.605 | 0.62514 | 2.8935 | 11.7 | 0.94868 | 8.1084 |  |  |  | 10.6 | 0.84327 | 7.9554 | 508.8 | 53.4013 | [7 empty] | 41.246 | 7.3321 | 17.7765 | 2 |  |  | 33.616 | 6.302 | 18.747
NIST-2711 | 3.7435 | 0.0123 | 0.32857 | 2.666 | 0.063105 | 2.367 | 2.293 | 0.014908 | 0.65015 | 2.5733 | 0.013242 | 0.5146 | 2.2415 | 0.012705 | 0.56681 | 16.7 | 2.3594 | 14.128 | 42.9 | 33.959 |  | 6.9533 | 0.80686 |  | 11.4 | 1.5776 | 13.8388 | 7.855 | 1.3493 |  | 3.0643 | 0.037045 | 1.2089 | 2.5013 | 0.019066 | 0.76223 | 2.7388 | 0.14809 | 5.4072 | 2.3968 | 0.01697 | 0.70802 | 67.2 | 38.2 |  | 701.3 | 11.8044 | 1.6832 | 581.1 | 19.8855 | 3.422 | 476.513 | 29.5406 | 6.1993 | 679 | 37.4848 | 5.5206 | 597.485 | 21.9269 | 3.6699 | [9 empty] | 4.3 | 1.4181 | 32.9799 | 5.707 | 0.62793 | 11.0027 | 21.2 | 0.78881 | 3.7208 | 1.7 | 1.8288 |  | 17.4 | 0.5164 | 2.9678 | 321.7 | 195.6119 | 60.8057 | [6 empty] | 34.8489 | 4.9033 | 14.0703 | 2.3333 | 0.57735 |  | 25.209 | 4.1764 | 16.567
SGR-1 | 2.3771 | 0.016449 | 0.69194 | 1.766 | 0.036576 | 2.0711 | 1.4104 | 0.017583 | 1.2466 | 1.7369 | 0.011874 | 0.68362 | 1.4137 | 0.0037088 | 0.26235 |  |  |  | 56.2 | 51.1095 | [10 empty] | 2.0507 | 0.031325 | 1.5275 | 1.9942 | 0.038458 | 1.9285 | 2.1493 | 0.047884 | 2.2279 | 1.9128 | 0.014127 | 0.73854 | 28.6 | 18.3 |  | 289.6 | 7.1833 | 2.4804 | 305.1 | 15.4593 | 5.067 | 99.783 | 13.028 | 13.0563 | 307.6 | 7.8909 | 2.5653 | 176.5544 | 12.9425 | 7.3306 | 41.8 | 1.1353 | 2.716 | 10.5 | 3.0641 | 29.1822 | 30.624 | 0.78368 | 2.5591 | 39.3 | 0.82327 | 2.0948 | 33.4744 | 0.99524 | 2.9731 | 3.8 | 0.91894 | 24.1825 |  |  |  | 7.9 | 0.56765 | 7.1854 | 266.8333 | 178.0083 | [10 empty] | 10.4 | 2.8752 | 27.646
TILL-2 | 5.2575 | 0.020885 | 0.39724 | 3.647 | 0.11216 | 3.0753 | 3.2539 | 0.015655 | 0.4811 | 3.6221 | 0.019861 | 0.54834 | 3.1891 | 0.01143 | 0.3584 | 7.75 | 1.3887 |  | 20.9 | 24.4652 |  |  |  |  | 3.5 | 1.2693 | 36.2656 |  |  |  | 3.1879 | 0.029934 | 0.93896 | 2.596 | 0.017068 | 0.65749 | 2.814 | 0.13877 | 4.9314 | 2.4564 | 0.0093186 | 0.37937 | 42.9 | 30.5 |  | 888.1 | 12.1147 | 1.3641 | 646.2 | 14.172 | 2.1931 | 584.843 | 30.5631 | 5.2259 | 852.7 | 43.1974 | 5.0659 | 727.165 | 24.6896 | 3.3953 | 21.1 | 1.5239 | 7.2222 |  |  |  | 15.266 | 0.77678 | 5.0883 | 18.5 | 1.5092 | 8.158 | 18.87 | 1.2892 | 6.832 | 22.3 | 0.94868 | 4.2542 |  |  |  | 19.4 | 0.69921 | 3.6042 | 313.625 | 218.7516 | [7 empty] | 49.362 | 11.462 | 23.2202 | 5.7143 | 3.9881 |  | 43.436 | 4.0978 | 9.4342
UM-4 | 16.0914 | 0.067461 | 0.41923 | 9.372 | 0.29612 | 3.1596 | 9.722 | 0.062887 | 0.64685 | 10.7534 | 0.03526 | 0.3279 | 9.8613 | 0.046321 | 0.46972 | 9.5 | 1.4142 | [13 empty] | 0.17092 | 0.0048256 | 2.8233 | 0.1186 | 0.0067496 | 5.691 | 0.13582 | 0.0089063 | 6.5574 | 0.12313 | 0.0059449 | 4.8281 |  |  |  | 1601.9 | 19.4276 | 1.2128 | 1158 | 34.254 | 2.958 | 1216.557 | 51.9257 | 4.2682 | 1688.423 | 41.0238 | 2.4297 |  |  |  | 4.4286 | 0.7868 |  |  |  |  | 3.4613 | 0.77981 |  | 4.736 | 1.269 | 26.7944 | 4.736 | 1.269 | 26.8 | 3.6667 | 0.70711 |  |  |  |  | 1.1 | 0.56765 | 51.6042 |  |  |  | 3303.2 | 24.0453 | 0.72794 | 2287 | 84.8594 | 3.7105 | 2020.616 | 24.3512 | 1.2051 | 2055.7 | 23.926 | 1.1639 | 1889.3 | 22.1996 | 1.2
Mean RSD |  |  | 0.40154 |  |  | 2.2985 |  |  | 0.64485 |  |  | 0.44937 |  |  | 0.51141 |  |  | 13.7978 |  |  | 39.1821 |  |  | 9.2166 |  |  | 23.6552 | [5 empty] | 1.7087 |  |  | 2.355 |  |  | 4.2251 |  |  | 1.4675 | [5 empty] | 1.4997 |  |  | 3.6475 |  |  | 5.8988 |  |  | 3.7119 |  |  | 3.2151 |  |  | 5.0441 |  |  | 29.1822 |  |  | 7.4184 |  |  | 23.8829 |  |  | 12.0056 |  |  | 7.9921 | [5 empty] | 11.2296 |  |  | 52.6249 |  |  | 12.7834 |  |  | 8.0599 |  |  | 13.4248 |  |  | 24.5286 |  |  | 9.3002
Mean of means |  |  | 0.86114 | [14 empty] | 21.4629 | [14 empty] | 2.4391 | [14 empty] | 3.5946 | [14 empty] | 15.5066 | [14 empty] | 9.6109 | [11 empty] | 13.6194
SD of mean of means |  |  | 0.80871 | [14 empty] | 13.2602 | [14 empty] | 1.2483 | [14 empty] | 1.5699 | [14 empty] | 10.5395 | [14 empty] | 2.2893 | [11 empty] | 6.506
Note on A11: Angelina Buchar: n=9

## P-Sm
| P |  |  | Pb | [14 empty] | Pd | [5 empty] | Pr |  |  | Rb | [14 empty] | S, % | [11 empty] | Sb | [11 empty] | Sc | [5 empty] | Se | [11 empty] | Sm
| BT-A-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-B-S |  |  | BT-B-S |  |  | BT-A-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-C-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | BT-A-S
SAMPLE | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV
BHVO-1 | 2829.8 | 2472.7566 | [16 empty] | 48.8 | 14.117 | 28.9282 | 3.4756 | 0.62055 |  |  |  |  | 9.6 | 0.5164 | 5.3791 | 8.1 | 7.0151 |  | 8.961 | 0.43656 | 4.8718 | 7.8 | 0.42164 | 5.4056 | 8.123 | 0.52328 | 6.442 | [6 empty] | 0.045829 | 0.038058 | [7 empty] | 31.477 | 6.3163 | 20.0665 | 2.6667 | 2.3452 |  |  |  |  | 166.553 | 10.4382 | 6.2672 | 175.003 | 27.564 | 15.7506 | [6 empty] | 1.7 | 0.48305 | 28.4145 |  |  |  | 12
GSR-6 | 4545 | 2476.4869 |  | 17.1 | 1.5239 | 8.9116 |  |  |  | 7.1133 | 1.7603 |  | 11.9 | 1.1005 | 9.2479 | 15.923 | 2.0714 | 13.0088 | 174.5 | 8.3433 | 4.7813 | 3.197 | 0.53363 | 16.6915 | 62 |  |  | 33.4 | 0.96609 | 2.8925 | 33.5 | 2.7588 | 8.2353 | 26.562 | 0.84585 | 3.1844 | 28.8 | 0.91894 | 3.1908 | 27.663 | 0.903 | 3.2643 | [6 empty] | 0.097 | 0.067682 | [7 empty] | 20.7978 | 4.642 |  | 3.8333 | 1.169 | [7 empty] | 175.1087 | 32.5986 | [7 empty] | 0.8 | 0.42164 | 52.7046 | 3.5983 | 0.44215
LKSD-4 | 484.3333 | 268.0908 |  | 127.4 | 2.5033 | 1.9649 | 89.9 | 10.1045 | 11.2397 | 83.682 | 1.8921 | 2.2611 | 98.9 | 1.912 | 1.9332 | 96.855 | 1.969 | 2.0329 | [6 empty] | 98.7 | 31 | 31.4083 | 30.6 | 0.69921 | 2.285 | 34.8 | 3.7357 | 10.7348 | 28.86 | 0.5029 | 1.7426 | 33.1 | 0.99443 | 3.0043 | 28.288 | 0.8685 | 3.0702 | 1.4879 | 0.097857 | 6.5769 | 0.6148 | 0.015887 | 2.5842 | 1.3292 | 0.078036 | 5.871 | 0.64251 | 0.017879 | 2.7827 | [6 empty] | 3.7778 | 2.9059 |  |  |  |  | 46.5844 | 8.6483 |  | 54.163 | 6.5009 | 12.0024 | 2 | 0 |  |  |  |  | 1.8 | 0.42164 | 23.4243 |  |  |  | 28.125 | 8.2538
MRG-1 | 1804.6667 | 1336.8124 | [7 empty] | 7.738 | 1.0781 | [10 empty] | 4.3589 | 0.70858 |  | 40 |  |  | 7 | 0.8165 | 11.6642 |  |  |  | 7.719 | 0.56221 | 7.2834 | 5.4 | 0.69921 | 12.9483 | 6.821 | 0.75986 | 11.14 | [6 empty] | 0.07329 | 0.047577 | 64.9167 | [6 empty] | 31.8678 | 4.9155 |  | 4 | 2.9277 |  | 11.7029 | 1.0739 |  | 183.487 | 43.525 | 23.721 | 213.69 | 33.1466 | 15.5116 | 3.1667 | 0.40825 |  |  |  |  | 2.3 | 0.82327 | 35.7945
NIST-2709 | 785 | 789.3326 |  | 15.8 | 1.7512 | 11.0835 |  |  |  | 6.975 | 1.0605 | 15.2036 | 16.5 | 1.354 | 8.2061 | 17.09 | 0.9916 | 5.8022 | 42.9 | 13.2954 | 30.9915 | [6 empty] | 94.4 | 1.4298 | 1.5147 | 90.7 | 2.5841 | 2.8491 | 81.577 | 0.91558 | 1.1224 | 89.3 | 0.82327 | 0.92192 | 82.045 | 1.5124 | 1.8434 |  |  |  | 0.043172 | 0.0066014 | 15.291 | 0.10016 | 0.022314 | 22.2783 | 0.039896 | 0.0075995 | 19.0482 | [6 empty] | 9.4 | 1.5776 | 16.7832 |  |  |  | 50.697 | 10.327 | 20.3701 | 51.3122 | 10.3807 |  | 2.4 | 0.54772 |  |  |  |  | 1.5 | 0.52705 | 35.1364 |  |  |  | 5 | 6.245
NIST-2710 | 2501.6 | 889.2765 | 35.5483 | 8337.9 | 29.5238 | 0.35409 | 5280 | 108.5255 | 2.0554 | 5584.874 | 17.1451 | 0.30699 | 5605 | 22.286 | 0.39761 | 5711.227 | 21.4316 | 0.37525 | 83.1 | 14.0115 | 16.861 | 3.1889 | 0.65625 |  |  |  |  | 129.2 | 1.5492 | 1.1991 | 120.1 | 3.0714 | 2.5573 | 117.871 | 2.0228 | 1.7161 | 124.2 | 1.2293 | 0.98975 | 120.106 | 1.3381 | 1.1141 |  |  |  | 0.2937 | 0.011765 | 4.0058 | 0.88987 | 0.04646 | 5.221 | 0.32818 | 0.013932 | 4.2453 | 63.1111 | 10.5172 |  | 46.29 | 5.6127 | 12.1251 | 39.5 | 2.8382 | 7.1854 | 30.269 | 3.2278 | 10.6636 | 49.245 | 8.2089 | 16.6695 | 41.4625 | 9.1277 |  |  |  |  | 5.79 | 0.68567 |  | 1.2 | 0.44721 |  |  |  |  | 15 | 20.8806
NIST-2711 | 1169 | 819.6211 |  | 1702.3 | 12.8067 | 0.75232 | 1059 | 20.79 | 1.9632 | 1135.987 | 10.7517 | 0.94646 | 1147.2 | 4.492 | 0.39156 | 1156.618 | 11.9053 | 1.0293 | 82.7 | 8.2603 | 9.9883 | 2.244 | 0.12818 |  |  |  |  | 116.9 | 0.56765 | 0.48558 | 108.3 | 2.3594 | 2.1786 | 102.457 | 1.209 | 1.18 | 111.9 | 0.56765 | 0.50728 | 104.145 | 1.2448 | 1.1952 |  |  |  | 0.065089 | 0.0073646 | 11.3147 | 0.1877 | 0.026224 | 13.9714 | 0.070378 | 0.007361 | 10.4593 | 39.375 | 4.3732 |  | 17.89 | 2.1975 |  | 25.3 | 2.6268 |  | 9.7737 | 1.8033 |  | 61.0067 | 13.3064 |  | 63.492 | 13.644 | 21.4893 | [6 empty] | 1.4 | 0.5164 | 36.8856 |  |  |  | 17
SGR-1 | 1830.5 | 1437.9706 |  | 48.9 | 1.2867 | 2.6313 | 23.7 | 12.85 |  | 25.483 | 1.7574 | 6.8964 | 39.4 | 1.8379 | 4.6647 | 37.4933 | 0.98657 | 2.6313 | [9 empty] | 75.9 | 0.73786 | 0.97215 | 72 | 2.1082 | 2.928 | 67.174 | 1.0743 | 1.5992 | 77.8 | 1.0328 | 1.3275 | 68.7978 | 0.75601 | 1.0989 |  |  |  | 0.83389 | 0.036759 | 4.4082 | 2.4387 | 0.061877 | 2.5373 | 0.92403 | 0.015078 | 1.6318 | [6 empty] | 3.9 | 2.331 | 59.768 |  |  |  | 167.349 | 17.4285 | 10.4144 | 177.8689 | 22.0862 | 12.4171 | 4.4 | 0.5164 | 11.7363 | 3.2256 | 0.40053 |  | 2.9 | 0.56765 | 19.574 | 3.5325 | 0.63335 |  | 22.75 | 4.7132
TILL-2 | 949.5 | 692.6021 |  | 32.5 | 2.0683 | 6.3639 |  |  |  | 22.243 | 1.2613 | 5.6706 | 28.6 | 1.075 | 3.7586 | 29.543 | 2.2546 | 7.6315 | 64.2 | 10.0421 | 15.642 | [6 empty] | 148.1 | 1.5239 | 1.029 | 143.3 | 5.1218 | 3.5742 | 129.287 | 0.6972 | 0.53927 | 142.3 | 1.767 | 1.2417 | 131.75 | 1.2606 | 0.95681 |  |  |  | 0.025179 | 0.003977 |  | 0.052711 | 0.025902 |  | 0.02261 | 0.0022302 | [7 empty] | 3.1 | 0.99443 | 32.0784 |  |  |  | 32.7413 | 3.5958 |  | 33.4686 | 6.4312 | [7 empty] | 0.625 | 0.51755 |  |  |  |  | 29.6667 | 18.9033
UM-4 | [9 empty] | 12.419 | 2.6336 | 21.2063 | 9.2 | 1.4757 | 16.0405 | 16.654 | 1.9129 | 11.5 | 42.1 | 9.7234 | 23.096 | 3.5 | 0.9 | 24.3 | 33 |  |  | 3.9 | 0.73786 | 18.9196 |  |  |  | 6.131 | 0.50388 | 8.2186 | 4.937 | 0.50542 | 10.2373 | 4.937 | 0.50542 | 10.2373 | 0.59545 | 0.074181 | 12.4579 | 0.21394 | 0.016512 | 7.718 | 0.61935 | 0.033444 | 5.3998 | 0.22099 | 0.015015 | 6.8 |  |  |  | 32.253 | 6.2115 | 19.2587 | 2.3 | 1.4944 | 64.9754 | 12.5033 | 2.3566 | 18.8 | 113.912 | 24.6311 | 21.6229 | 119.868 | 18.2131 | 15.2 | 3.1111 | 0.60093 |  | 3.6614 | 0.65507 |  | 3.4 | 0.5164 | 15.1882 | 4.9062 | 0.46666 |  | 8.5 | 12.0208
Mean RSD |  |  | 35.5483 |  |  | 4.5802 |  |  | 5.0861 |  |  | 7.4988 |  |  | 5.58 |  |  | 5.5014 |  |  | 18.6126 |  |  | 20.4957 |  |  | 31.4083 |  |  | 4.6341 |  |  | 4.7225 |  |  | 3.1458 |  |  | 3.9774 |  |  | 4.0362 |  |  | 9.5174 |  |  | 7.5536 |  |  | 17.1708 |  |  | 7.4945 | [5 empty] | 17.1501 |  |  | 36.1581 |  |  | 14.7318 |  |  | 16.5109 |  |  | 15.3952 |  |  | 11.7363 | [5 empty] | 30.8902
Mean of means |  |  | 15.0715 | [8 empty] | 6.1934 | [8 empty] | 19.5542 | [8 empty] | 4.1032 | [14 empty] | 10.4341 | [14 empty] | 22.68 | [8 empty] | 15.953 | [5 empty] | 21.3133
SD of mean of means |  |  | 17.7352 | [8 empty] | 1.1312 | [8 empty] | 1.3316 | [8 empty] | 0.63291 | [14 empty] | 4.5885 | [14 empty] | 11.7348 | [8 empty] | 0.78891 | [5 empty] | 13.5439
Note on A11: Angelina Buchar: n=9

## Sn-Ti
|  |  | Sn |  |  | Sr |  |  |  | Sn | [8 empty] | Sr | [14 empty] | Ta | [5 empty] | Te | [5 empty] | Th | [11 empty] | Ti %
Sn |  |  | BT-B-S |  |  | HH-A-S |  |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-B-S |  |  | BT-A-S |  |  | HH-C-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S
Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | SAMPLE | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV
2.7 | 1.6364 | 60.6071 | 61.602 | 3.9565 | 6.4227 | 416.7 | 5.697 | 1.3672 | BHVO-1 | 26.188 | 5.7245 | 21.8592 | 2.7 | 1.6364 | 60.6071 | 61.602 | 3.9565 | 6.4227 | 416.7 | 5.697 | 1.3672 | 407.4 | 8.6564 | 2.1248 | 382.65 | 2.7398 | 0.716 | 327.9 | 4.4083 | 1.3444 | 375.464 | 2.984 | 0.79476 |  |  |  | 11 | 9.314 |  | 88.766 | 13.1528 | 14.8174 | 15.958 | 2.3687 | 14.8435 | 45.4444 | 7.4517 | 16.3974 | 4.9825 | 1.1469 | 23.0187 |  |  |  | 5.279 | 1.3631 | 25.8211 | 1.9797 | 0.014607 | 0.73785 | 1.648 | 0.037653 | 2.2848 | 1.3731 | 0.015561 | 1.1333 | 2.0266 | 0.058024 | 2.8631 | 1.2739 | 0.010616 | 0.83335
2.4444 | 1.1304 |  | 49.433 | 1.6017 | 3.2401 | 978.7 | 13.0303 |  | GSR-6 | 18.565 | 3.6312 |  | 2.4444 | 1.1304 |  | 49.433 | 1.6017 | 3.2401 | 978.7 | 13.0303 |  | 935.3 | 12.2932 | 1.3144 | 890.186 | 4.1016 | 0.46076 | 815.8 | 6.2503 | 0.76616 | 876.392 | 4.4746 | 0.51057 |  |  |  | 1 |  |  | 57.661 | 9.6883 | 16.8022 |  |  |  | 85.9 | 10.6192 | 12.3622 | 6.774 | 1.0537 | 15.5558 |  |  |  | 7.012 | 0.71973 | 10.2643 | 0.16666 | 0.0027212 | 1.6328 | 0.1829 | 0.017842 | 9.7548 | 0.12223 | 0.0027615 | 2.2593 | 0.19359 | 0.0048535 | 2.5071 | 0.11427 | 0.0018323 | 1.6035
5.3 | 1.6364 | 30.8753 |  |  |  | 124.4 | 1.2649 | 1.0168 | LKSD-4 |  |  |  | 5.3 | 1.6364 | 30.8753 |  |  |  | 124.4 | 1.2649 | 1.0168 | 120.6 | 4.6714 | 3.8735 | 120.06 | 1.3828 | 1.1518 | 190.4 | 2.9515 | 1.5501 | 116.327 | 1.3276 | 1.1413 |  |  |  | 52.8 | 5.3292 | 10.0931 | [6 empty] | 28.4 | 4.5607 |  | 6.476 | 1.302 | 20.1045 | 7.1 | 2.4698 | 34.7862 | 5.154 | 0.94128 | 18.2631 | 0.23787 | 0.0026808 | 1.127 | 0.183 | 0.0046188 | 2.5239 | 0.23005 | 0.0028561 | 1.2415 | 0.25261 | 0.014786 | 5.8531 | 0.22069 | 0.0027284 | 1.2363
4.5 | 2.5055 | 55.6789 | 70.284 | 4.0442 | 5.7541 | 289.3 | 4.296 | 1.485 | MRG-1 | 31.221 | 6.2488 | 20.0146 | 4.5 | 2.5055 | 55.6789 | 70.284 | 4.0442 | 5.7541 | 289.3 | 4.296 | 1.485 | 286.2 | 7.2388 | 2.5293 | 263.068 | 3.2114 | 1.2207 | 226.6 | 2.7968 | 1.2343 | 261.05 | 3.3587 | 1.2866 |  |  |  | 14.125 | 10.3432 |  | 89.759 | 12.2435 | 13.6405 | 16.09 | 3.2833 |  | 54.4 | 9.4499 |  | 6.1444 | 1.5504 | 25.2329 |  |  |  | 5.7789 | 1.212 |  | 2.9956 | 0.025487 | 0.85081 | 2.196 | 0.035024 | 1.5949 | 1.903 | 0.027295 | 1.4343 | 2.7116 | 0.062581 | 2.3079 | 1.7814 | 0.013205 | 0.74128
2.2222 | 1.2019 |  | 14.264 | 2.6878 | 18.8429 | 232.4 | 1.5055 | 0.64783 | NIST-2709 |  |  |  | 2.2222 | 1.2019 |  | 14.264 | 2.6878 | 18.8429 | 232.4 | 1.5055 | 0.64783 | 227.7 | 5.5588 | 2.4413 | 215.261 | 2.1068 | 0.9787 | 238.5 | 3.2745 | 1.3729 | 210.737 | 1.0873 | 0.51596 |  |  |  | 28.9 | 7.218 | 24.9759 | [6 empty] | 75.4 | 10.222 | 13.557 | 13.212 | 1.3201 | 9.992 | 13.1 | 3.3149 | 25.305 | 12.927 | 0.81628 | 6.3145 | 0.41171 | 0.004469 | 1.0855 | 0.3218 | 0.013415 | 4.1687 | 0.33721 | 0.0043865 | 1.3008 | 0.43733 | 0.017934 | 4.1008 | 0.31293 | 0.0028829 | 0.92127
11.2 | 1.7512 | 15.6356 | 36.661 | 3.954 | 10.7853 | 344 | 4.5704 | 1.3286 | NIST-2710 | 16.24 | 3.4281 |  | 11.2 | 1.7512 | 15.6356 | 36.661 | 3.954 | 10.7853 | 344 | 4.5704 | 1.3286 | 335 | 7.2572 | 2.1663 | 322.572 | 2.3165 | 0.71814 | 339.8 | 5.2451 | 1.5436 | 317.953 | 2.5912 | 0.81497 | 6.4 | 0.5164 | 8.0687 | 72.4 | 21.0354 | 29.0544 | 42.4143 | 12.298 |  |  |  |  | 101 | 10.3387 | 10.2363 | 55.954 | 6.889 | 12.312 | 16 | 2.357 | 14.7314 | 22.7075 | 3.1444 |  | 0.37941 | 0.0058686 | 1.5468 | 0.3195 | 0.019637 | 6.1462 | 0.27189 | 0.0037063 | 1.3632 | 0.38608 | 0.014376 | 3.7235 | 0.26218 | 0.0039979 | 1.5249
5.2 | 1.5492 | 29.7922 | 27.578 | 3.9346 | 14.2673 | 249.9 | 2.5144 | 1.0062 | NIST-2711 |  |  |  | 5.2 | 1.5492 | 29.7922 | 27.578 | 3.9346 | 14.2673 | 249.9 | 2.5144 | 1.0062 | 240.2 | 5.0288 | 2.0936 | 234.866 | 1.9947 | 0.84931 | 243.9 | 3.9567 | 1.6223 | 229.673 | 1.4465 | 0.6298 | 0.9 | 0.31623 |  | 19.3 | 5.2926 | 27.4226 | [6 empty] | 92.6 | 10.7103 | 11.5662 | 23.277 | 2.3016 | 9.8877 | 15.7 | 1.4181 | 9.0327 | 17.596 | 3.1251 | 17.7602 | 0.34827 | 0.0036963 | 1.0613 | 0.2714 | 0.012894 | 4.7511 | 0.27922 | 0.003438 | 1.2313 | 0.37122 | 0.020444 | 5.5073 | 0.25915 | 0.0028903 | 1.1153
2.125 | 1.2464 |  |  |  |  | 377.3 | 3.0203 | 0.8005 | SGR-1 |  |  |  | 2.125 | 1.2464 |  |  |  |  | 377.3 | 3.0203 | 0.8005 | 357.7 | 8.8198 | 2.4657 | 355.963 | 2.288 | 0.64276 | 439.4 | 3.6878 | 0.83928 | 350.9144 | 1.8341 | 0.52265 |  |  |  | 34 | 5.164 | 15.1882 | [6 empty] | 32.375 | 4.565 |  | 5.633 | 0.63983 | 11.3586 |  |  |  | 5.71 | 0.68358 | 11.9715 | 0.17312 | 0.0028323 | 1.636 | 0.1232 | 0.0068767 | 5.5817 | 0.17292 | 0.0052318 | 3.0255 | 0.21332 | 0.0062675 | 2.9381 | 0.16428 | 0.0029145 | 1.7741
6.3 | 1.3375 | 21.2301 | 31.61 | 3.2337 | 10.23 | 155.4 | 1.7764 | 1.1431 | TILL-2 |  |  |  | 6.3 | 1.3375 | 21.2301 | 31.61 | 3.2337 | 10.23 | 155.4 | 1.7764 | 1.1431 | 148.7 | 4.2177 | 2.8364 | 146.73 | 1.153 | 0.78579 | 144.6 | 1.9551 | 1.352 | 142.205 | 1.589 | 1.1174 |  |  |  | 15.7778 | 8.2731 | 52.4352 | [6 empty] | 112.3 | 11.096 | 9.8807 | 26.15 | 1.6381 | 6.2644 | 20 | 2.3094 | 11.547 | 25.656 | 0.92705 | 3.6134 | 0.61979 | 0.0059719 | 0.96353 | 0.4771 | 0.013617 | 2.8542 | 0.52872 | 0.0047171 | 0.89218 | 0.6451 | 0.033105 | 5.1318 | 0.49429 | 0.0040286 | 0.81503
1.7778 | 1.3017 |  | 17.7 | 0.82327 | 4.6513 | 13.6 | 1.1738 | 8.6308 | UM-4 | 27.242 | 5.234 | 19.2128 | 1.7778 | 1.3017 |  | 68.118 | 5.3062 | 7.7897 | 17.7 | 0.82327 | 4.6513 | 17.6 | 3.4383 | 19.5361 | 16.933 | 0.68453 | 4.0426 | 16.527 | 0.49529 | 2.9969 | 16.527 | 0.49529 | 3 |  |  |  | 11.125 | 5.5146 |  | 89.504 | 9.2401 | 10.3237 | 20.144 | 4.6342 | 23 | 14.8435 |  |  | 5.644 | 1.673 | 29.6425 |  |  |  | 5.567 | 1.0453 | 18.7774 | 0.25884 | 0.0037933 | 1.4655 | 0.1845 | 0.008657 | 4.6922 | 0.16571 | 0.0046988 | 2.8356 | 0.24573 | 0.0058046 | 2.3622 | 0.16998 | 0.0043236 | 2.5
[9 empty] | Mean RSD |  |  | 20.3622 |  |  | 35.6365 |  |  | 9.6665 |  |  | 1.494 |  |  | 4.1381 |  |  | 1.1567 |  |  | 1.4622 |  |  | 1.0334 |  |  | 8.0687 |  |  | 26.5282 |  |  | 13.8959 |  |  | 18.9217 |  |  | 12.3333 |  |  | 16.3369 |  |  | 19.0804 |  |  | 14.0982 |  |  | 1.2107 |  |  | 4.4352 |  |  | 1.6717 |  |  | 3.7295 |  |  | 1.3065
[9 empty] | Mean of means |  |  | 21.8884 | [8 empty] | 1.8569 | [14 empty] | 17.2985 | [5 empty] | 16.4088 | [5 empty] | 15.4622 | [11 empty] | 2.4707
[9 empty] | SD of mean of means |  |  | 13.0521 | [8 empty] | 1.2903 | [14 empty] | 13.0529 | [5 empty] | 3.5538 | [5 empty] | 2.9159 | [11 empty] | 1.5021
Note on J11: Angelina Buchar: n=9

## U-Zr
| U | [14 empty] | V | [14 empty] | W | [14 empty] | Y | [5 empty] | Zn | [14 empty] | Zr
| HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | BT-A-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S |  |  | HH-A-S |  |  | HH-B-S |  |  | HH-C-S |  |  | BT-A-S |  |  | BT-B-S
SAMPLE | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV | Mean | SD | CV
BHVO-1 | [15 empty] | 196.7 | 4.5228 | 2.2993 | 238.4 | 57.1668 | 23.9794 | 260.612 | 19.9068 | 7.6385 | 163.1 | 3.9847 | 2.4431 | 270.8 | 15.8019 | 5.8353 | [9 empty] | 4.25 | 2.8158 |  | 27.6233 | 5.099 |  | 27.9 | 0.56765 | 2.0346 | 20.9 | 1.3703 |  | 106 | 1.8856 | 1.7789 | 96.2 | 4.1846 | 4.3499 | 95.273 | 4.3318 | 4.5467 | 89.5 | 1.5092 | 1.6863 | 101.386 | 4.1026 | 4.0465 | 160.7 | 1.767 | 1.0996 | 171 | 6.3596 | 3.7191 | 191.025 | 1.0223 | 0.53515 | 118.3 | 2.406 | 2.0338 | 186.126 | 1.8282 | 0.98226
GSR-6 |  |  |  | 15.9 | 5.9526 | 37.4377 | [6 empty] | 7.3189 | 0.98716 |  | 25.3 | 3.0569 | 12.0825 | 52 |  |  | 24.4017 | 6.8113 |  | 24.9 | 1.912 | 7.6785 | 31.084 | 4.2709 | 13.7398 | [9 empty] | 6.25 | 2.0616 |  | 23.57 | 6.2367 |  | 8.7 | 0.48305 | 5.5523 | 3.1 | 1.3703 | 55.8332 | 50.5 | 1.354 | 2.6812 | 74.1 | 4.4083 | 5.9492 | 47.208 | 1.9653 | 4.163 | 42.7 | 1.4944 | 3.4998 | 51.652 | 2.9028 | 5.62 | 66.5 | 1.7795 | 2.676 | 50.4 | 4.274 | 8.4801 | 65.239 | 2.6097 | 4.0002 | 50.5 | 2.7588 | 5.463 | 77.139 | 1.4857 | 1.926
LKSD-4 | 42.7 | 1.4944 | 3.4998 | 29.5 | 10.8244 | 36.6927 | 34.648 | 1.2473 | 3.5998 | 38.5 | 1.1785 | 3.0611 | 33.645 | 1.6326 | 4.8526 | 63.8 | 2.201 | 3.4499 | 63.7 | 18.6253 | 29.239 | 72.576 | 6.4356 | 8.8674 | 55.4 | 3.3066 | 5.9685 | 76.823 | 4.4763 | 5.8268 | [9 empty] | 3.25 | 3.2016 |  |  |  |  | 23.3 | 0.48305 | 2.0732 | 38.9 | 1.3703 |  | 214.4 | 1.8974 | 0.88497 | 205.1 | 5.3427 | 2.6049 | 193.36 | 3.8463 | 1.9892 | 198.1 | 3.1073 | 1.5686 | 186.327 | 3.3067 | 1.7747 | 82.1 | 1.5951 | 1.9429 | 97.2 | 6.391 | 6.5751 | 108.083 | 3.6381 | 3.366 | 119 | 2.6247 | 2.2056 | 106.479 | 1.7083 | 1.6043
MRG-1 | [15 empty] | 310.5 | 11.1878 | 3.6032 | 378 | 76.6203 | 20.2699 | 410.565 | 18.5768 | 4.5247 | 234.9 | 11.9392 | 5.0827 | 429.633 | 18.3286 | 4.2661 | [6 empty] | 38.22 | 1.274 | 3.3333 | 9.7778 | 10.2442 |  | 35.84 | 7.0613 |  | 16.4 | 0.84327 | 5.1419 | 11.7 | 2.2136 | 227.5417 | 223.6 | 6.8508 | 3.0639 | 152.1 | 3.3483 | 2.2014 | 201.389 | 10.8119 | 5.3687 | 193.9 | 4.3321 | 2.2342 | 190.901 | 9.0683 | 4.7503 | 98.4 | 1.8974 | 1.9282 | 103.6 | 4.4771 | 4.3215 | 114.214 | 1.3478 | 1.1801 | 74.3 | 2.2136 | 2.9793 | 113.391 | 1.3499 | 1.1904
NIST-2709 |  |  |  | 29.7 | 7.5432 | 25.398 | 6.5644 | 1.1902 |  | 4.5 | 1.0801 | 24.0027 |  |  |  | 130.6 | 3.9497 | 3.0243 | 105.2 | 40.8243 | 38.8064 | 112.307 | 8.7173 | 7.7621 | 116.9 | 4.9318 | 4.2188 | 123.226 | 6.373 | 5.1718 | [9 empty] | 8.3 | 3.5917 | 43.273 | 17.02 | 2.984 |  | 19.2 | 0.78881 | 4.1084 | 21.1 | 0.8756 |  | 106.7 | 2.2632 | 2.1211 | 108.9 | 4.2282 | 3.8827 | 93.016 | 1.9954 | 2.1452 | 91.5 | 1.6499 | 1.8032 | 94.685 | 3.1585 | 3.3357 | 128.6 | 1.7127 | 1.3318 | 134.9 | 5.3427 | 3.9605 | 157.971 | 3.2373 | 2.0493 | 123.9 | 2.079 | 1.678 | 152.577 | 4.1656 | 2.7302
NIST-2710 | 31.4 | 2.6331 | 8.3857 | 49.8 | 8.6769 | 17.4235 | 30.123 | 1.2731 | 4.2264 | 25.1 | 2.6854 | 10.6986 | 29.098 | 3.1796 | 10.9273 | 115.5 | 5.7009 | 4.9358 | 64.1 | 17.3298 | 27.0356 | 70.11 | 10.5156 | 14.9987 | 97.9 | 5.2164 | 5.3283 | 89.856 | 8.0475 | 8.956 | 250.9 | 23.8442 | 9.5035 | [6 empty] | 200.2 | 33.8782 | 16.9222 | 237.899 | 18.3001 | 7.6924 | 37.6 | 1.1738 | 3.1218 | 49.2 | 3.2249 |  | 8087.5 | 27.0729 | 0.33475 | 6471 | 138.1183 | 2.1344 | 7195.735 | 35.7696 | 0.49709 | 7071.1 | 21.5584 | 0.30488 | 7136.32 | 48.8337 | 0.6843 | 114.7 | 1.4181 | 1.2364 | 120.7 | 4.8546 | 4.022 | 124.912 | 4.6853 | 3.7509 | 106.5 | 2.3688 | 2.2242 | 129.897 | 2.1161 | 1.6291
NIST-2711 |  |  |  | 36.3 | 5.1435 | 14.1694 | 7.9167 | 1.0658 |  | 4.2 | 1.6193 | 38.5554 |  |  |  | 103 | 2.1082 | 2.0468 | 74.8 | 13.0877 | 17.497 | 81.395 | 5.1454 | 6.3215 | 89.9 | 5.646 | 6.2804 | 95.678 | 6.4606 | 6.7524 | [9 empty] | 5.8 | 5.4498 |  | 21.6067 | 5.179 |  | 34 | 0.94281 | 2.773 | 37.8 | 1.9889 |  | 362.1 | 3.6347 | 1.0038 | 312.4 | 8.9343 | 2.8599 | 319.06 | 11.2041 | 3.5116 | 315 | 2.2608 | 0.71771 | 320.131 | 6.9433 | 2.1689 | 252.3 | 3.4335 | 1.3609 | 281.6 | 6.3631 | 2.2596 | 311.111 | 9.4501 | 3.0375 | 234.7 | 3.3682 | 1.4351 | 296.627 | 4.3161 | 1.4551
SGR-1 | 8.125 | 2.031 |  | 25.6 | 4.1952 | 16.3876 | 8.347 | 1.5144 | 18.1428 |  |  |  | 7.7144 | 0.99109 |  | 70.9 | 2.1833 | 3.0794 | 83.4 | 21.1198 | 25.3235 | 134.475 | 3.0328 | 2.2553 | 74.5 | 1.7159 | 2.3033 | 125.4978 | 7.8376 | 6.2452 | [9 empty] | 8.3 | 4.0838 | 49.2029 |  |  |  | 9.6 | 0.69921 | 7.2834 | 17.6 | 1.4298 |  | 75 | 1.0541 | 1.4055 | 90.5 | 2.9907 | 3.3047 | 66.23 | 1.7475 | 2.6385 | 68.1 | 0.99443 | 1.4602 | 67.6011 | 2.1175 | 3.1323 | 39.7 | 1.2517 | 3.1528 | 32.3 | 3.199 | 9.9039 | 45.66 | 1.4987 | 3.2822 | 44.1 | 1.4491 | 3.286 | 49.16 | 1.7505 | 3.5607
TILL-2 | 7.6 | 1.1402 |  | 61.3 | 5.4375 | 8.8703 |  |  |  | 3.8 | 1.7512 | 46.0839 |  |  |  | 107.8 | 2.3944 | 2.2212 | 69.9 | 27.2129 | 38.9313 | 89.459 | 7.4448 | 8.322 | 92.3 | 5.8128 | 6.2977 | 118.203 | 9.6986 | 8.205 | [9 empty] | 9.3333 | 5.6125 |  | 17.34 | 3.2718 |  | 35 | 1.0541 | 3.0117 | 33.9 | 1.3703 |  | 130.1 | 1.912 | 1.4696 | 124.9 | 4.8637 | 3.8941 | 114.375 | 3.6658 | 3.2051 | 113.7 | 1.8288 | 1.6084 | 118.257 | 3.0656 | 2.5923 | 319.1 | 4.6056 | 1.4433 | 351.4 | 9.98 | 2.8401 | 398.562 | 4.6553 | 1.168 | 287 | 3.559 | 1.2401 | 377.006 | 5.1657 | 1.3702
UM-4 | [12 empty] | 4.934 | 0.80017 | 16.2176 | 88.7 | 2.6687 | 3.0087 | 287.1 | 34.62 | 12.0585 | 161.851 | 10.8586 | 6.709 | 65.4 | 4.274 | 6.5351 | 151.166 | 8.9603 | 5.9 |  |  |  | 158.8 | 14.6424 | 9.2207 |  |  |  | 7.2857 | 4.3861 |  |  |  |  | 7.7 | 0.82327 | 10.6919 | 5.5 | 0.52705 | 51.441 | 206.3 | 2.406 | 1.1663 | 157 | 5.4569 | 3.4757 | 182.349 | 2.7786 | 1.5238 | 176.7 | 3.7727 | 2.1351 | 191.556 | 5.2332 | 2.7 | 11.9 | 0.56765 | 4.7701 |  |  |  | 14.498 | 1.0255 | 7.0733 | 9.5 | 0.97183 | 10.2297 | 13.281 | 0.76234 | 5.7
Mean RSD |  |  | 5.9428 |  |  | 22.3399 |  |  | 8.6563 |  |  | 24.4804 |  |  | 10.6658 |  |  | 3.9751 |  |  | 25.9045 |  |  | 7.4888 |  |  | 5.2136 |  |  | 7.0898 |  |  | 9.5035 |  |  | 9.2207 |  |  | 3.3333 |  |  | 36.466 |  |  | 7.6924 |  |  | 4.5792 |  |  | 111.6053 |  |  | 1.591 |  |  | 3.4657 |  |  | 2.9589 |  |  | 1.7018 |  |  | 3.0805 |  |  | 2.0942 |  |  | 5.1202 |  |  | 2.9443 |  |  | 3.2775 |  |  | 2.2148
Mean of means |  |  | 14.417 | [14 empty] | 9.9344 | [14 empty] | 13.2432 | [14 empty] | 58.0923 | [5 empty] | 2.5596 | [14 empty] | 3.1302
SD of mean of means |  |  | 8.413 | [14 empty] | 9.0404 | [14 empty] | 13.2144 | [14 empty] | 75.6789 | [5 empty] | 0.85524 | [14 empty] | 1.2173
Note on A11: Angelina Buchar: n=9
Note on T5: owner: All 10 values read 52.0, instrumental LOD